## Capacities
System Capacity Map 2024
Legend
Virtual points are indicated with a "V" mention. By default the map displays interconnections only when firm technical capacity is existing.
Number |  | Point |  |  | Technical physical capacity (GWh/d) | From Operator | From CC | From BZ | To Operator | To CC | To BZ
Cross-border IP within EU and with non-EU (export)
1 |  | Zeebrugge IZT |  |  | 651.7 | Interconnector | UK | IUK | Fluxys Belgium | BE | BeLux
[5 empty] | 803.4 | Fluxys Belgium | BE | BeLux | Interconnector | UK | IUK
2 | V | VIRTUALYS Virtualys is virtualising 'Alveringem' and 'Taisnieres H/Blaregnies Segeo/Troll' since 1 Dec 2017 |  |  | 360 | Fluxys Belgium | BE | BeLux | GRTgaz | FR | TRF
[5 empty] | 270 | GRTgaz | FR | TRF | Fluxys Belgium | BE | BeLux
3 |  | Blaregnies L (BE) / Taisnières B (FR) |  |  | 170 | Fluxys Belgium | BE | L-Zone | GRTgaz | FR | TRF
4 | V | VIP BENE L |  |  | 595.5635 | GTS | NL | Netherlands | Fluxys Belgium | BE | BeLux
5 | V | VIP BENE |  |  | 428 | Fluxys Belgium | BE | BeLux | GTS | NL | Netherlands
[5 empty] | 792 | GTS | NL | Netherlands | Fluxys Belgium | BE | BeLux
6 | V | VIP THE-ZTP |  |  | 356 | Open Grid Europe | DE | DE THE BZ | Fluxys Belgium | BE | BeLux
[6 empty] | Thyssengas | DE | DE THE BZ | Fluxys Belgium | BE | BeLux
[6 empty] | Fluxys TENP | DE | DE THE BZ | Fluxys Belgium | BE | BeLux
[6 empty] | GASCADE Gastransport | DE | DE THE BZ | Fluxys Belgium | BE | BeLux
[5 empty] | 542 | Fluxys Belgium | BE | BeLux | Open Grid Europe | DE | DE THE BZ
[6 empty] | Fluxys Belgium | BE | BeLux | Thyssengas | DE | DE THE BZ
[6 empty] | Fluxys Belgium | BE | BeLux | Fluxys TENP | DE | DE THE BZ
[6 empty] | Fluxys Belgium | BE | BeLux | GASCADE Gastransport | DE | DE THE BZ
8 |  | Remich |  |  | 24 | Open Grid Europe | DE | DE THE BZ | Creos Luxembourg | LU | BeLux
9 | V | VIP THE - PEG |  |  | 613.7417 | GRTgaz Deutschland | DE | DE THE BZ | GRTgaz | FR | TRF
[5 empty] | 100 | GRTgaz | FR | TRF | GRTgaz Deutschland | DE | DE THE BZ
10 |  | Oltingue (FR) / Rodersdorf (CH) |  |  | 100 | FluxSwiss | CH | Switzerland | GRTgaz | FR | TRF
[6 empty] | Swissgas | CH | Switzerland | GRTgaz | FR | TRF
[5 empty] | 259.02 | GRTgaz | FR | TRF | FluxSwiss | CH | Switzerland
[6 empty] | GRTgaz | FR | TRF | Swissgas | CH | Switzerland
11 |  | RC Basel |  |  | 8.83 | terranets bw | DE | DE THE BZ | GVM | CH | Switzerland
12 |  | VIP THE - CH |  |  | 240 | FluxSwiss | CH | Switzerland | Fluxys TENP | DE | DE THE BZ
[6 empty] | FluxSwiss | CH | Switzerland | Open Grid Europe | DE | DE THE BZ
[6 empty] | Swissgas | CH | Switzerland | Open Grid Europe | DE | DE THE BZ
[5 empty] | 345 | Fluxys TENP | DE | DE THE BZ | FluxSwiss | CH | Switzerland
[6 empty] | Fluxys TENP | DE | DE THE BZ | Swissgas | CH | Switzerland
[6 empty] | Open Grid Europe | DE | DE THE BZ | FluxSwiss | CH | Switzerland
[6 empty] | Open Grid Europe | DE | DE THE BZ | Swissgas | CH | Switzerland
13 | V | VIP TTF-THE H |  |  | 422 | GTS | NL | Netherlands | Gasunie Deutschland | DE | GASPOOL
[6 empty] | GTS | NL | Netherlands | Thyssengas | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | GASCADE Gastransport | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | Open Grid Europe | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | Fluxys TENP | DE | DE THE BZ
[5 empty] | 384 | Gasunie Deutschland | DE | GASPOOL | GTS | NL | Netherlands
[6 empty] | Thyssengas | DE | DE THE BZ | GTS | NL | Netherlands
[6 empty] | GASCADE Gastransport | DE | DE THE BZ | GTS | NL | Netherlands
[6 empty] | Open Grid Europe | DE | DE THE BZ | GTS | NL | Netherlands
[6 empty] | Fluxys TENP | DE | DE THE BZ | GTS | NL | Netherlands
14 | V | VIP TTF-THE L |  |  | 686.4 | GTS | NL | Netherlands | Thyssengas | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | Open Grid Europe | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | GTG Nord | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | Gasunie Deutschland | DE | GASPOOL
15 |  | Epe (DE) (Eneco) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 46.8 | GTS | NL | Netherlands | Eneco | DE
[5 empty] | 93.6 | Eneco | DE |  | GTS | NL | Netherlands
|  | Epe (DE) (Nuon) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 70.3 | GTS | NL | Netherlands | Nuon | DE
[5 empty] | 117.2 | Nuon | DE |  | GTS | NL | Netherlands
|  | Epe (DE) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 47.73 | GTS | NL | Netherlands | RWE | DE
[5 empty] | 103.5 | RWE | DE |  | GTS | NL | Netherlands
16 |  | Etzel (DE) (Crystal) / Oude Statenzijl (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 56.4 | GTS | NL | Netherlands | Crystal | DE
[5 empty] | 76.5 | Crystal | DE |  | GTS | NL | Netherlands
|  | Etzel (DE) (EKB) / Oude Statenzijl Etzel (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 74.9 | GTS | NL | Netherlands | EKB | DE
[5 empty] | 115.3 | EKB | DE |  | GTS | NL | Netherlands
|  | Etzel (DE) (OMV) Freya / Oude Statenzijl Etzel Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 80.9 | GTS | NL | Netherlands | OMV SSO | DE
[5 empty] | 95.2 | OMV SSO | DE |  | GTS | NL | Netherlands
|  | Nüttermoor (DE) (EWE) H / Oude Statenzijl (H) (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 59 | GTS | NL | Netherlands | EWE Gasspeicher | DE
[5 empty] | 55 | EWE Gasspeicher | DE |  | GTS | NL | Netherlands
|  | Nüttermoor H1 and H4 (DE) (EWE) Renato / Oude Statenzijl (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 69.6 | EWE Gasspeicher | DE |  | GTS | NL | Netherlands
[5 empty] | 48.72 | GTS | NL | Netherlands | EWE Gasspeicher | DE
17 |  | Jemgum (DE) (astora) / Oude Statenzijl (NL) |  |  | 128 | GTS | NL | Netherlands | astora | DE
[5 empty] | 202 | astora | DE |  | GTS | NL | Netherlands
|  | Jemgum (DE) (EWE) / Oude Statenzijl (NL) |  |  | 128 | GTS | NL | Netherlands | EWE Gasspeicher | DE
[5 empty] | 202 | EWE Gasspeicher | DE |  | GTS | NL | Netherlands
18 |  | Bacton (IUK) |  |  | 651.6 | National Gas TSO | UK | UK | Interconnector | UK | IUK
[5 empty] | 803.4 | Interconnector | UK | IUK | National Gas TSO | UK | UK
|  | Bacton (BBL) |  |  | 494.4 | BBL company | NL | Netherlands | National Gas TSO | UK | UK
[5 empty] | 168 | National Gas TSO | UK | UK | BBL company | NL | Netherlands
19 |  | Moffat Part of this technical capacity (89.3 GWh/day) is allocated to PTL for Northern Ireland. |  |  | 386.58 | National Gas TSO | UK | UK | GNI | IE | Ireland
[6 empty] | National Gas TSO | UK | UK | Premier Transmission | UK | NI
20 |  | RC Lindau |  |  | 25.44 | terranets bw | DE | DE THE BZ | Vorarlberger Erdgas | AT | Austria
[6 empty] | bayernets | DE | DE THE BZ | Vorarlberger Erdgas | AT | Austria
21 | V | VIP Kiefersfelden-Pfronten |  |  | 31.1 | bayernets | DE | DE THE BZ | TIGAS, EWR | AT | Austria
22 |  | Haidach (AT) / Haidach USP (DE) |  |  | 230.14 | bayernets | DE | DE THE BZ | astora | AT | Austria
[6 empty] | bayernets | DE | DE THE BZ | GSA LLC | AT | Austria
[5 empty] | 280.49 | astora | AT | Austria | bayernets | DE | DE THE BZ
[6 empty] | GSA LLC | AT | Austria | bayernets | DE | DE THE BZ
23 |  | Überackern ABG (AT) / Überackern (DE) |  |  | 6 | Gas Connect Austria | AT | Austria | Open Grid Europe | DE | DE THE BZ
|  | Überackern SUDAL (AT) / Überackern 2 (DE) |  |  | 174.6 | Gas Connect Austria | AT | Austria | bayernets | DE | DE THE BZ
[5 empty] | 114 | bayernets | DE | DE THE BZ | Gas Connect Austria | AT | Austria
24 |  | Haiming 2 7F |  |  | 78.864 | bayernets | DE | DE THE BZ | Uniper ES | AT | Austria
[6 empty] | Open Grid Europe | DE | DE THE BZ | Uniper ES | AT | Austria
[5 empty] | 136.896 | Uniper ES | AT | Austria | bayernets | DE | DE THE BZ
[6 empty] | Uniper ES | AT | Austria | Open Grid Europe | DE | DE THE BZ
|  | Haiming 2-RAGES/bn |  |  | 32.01 | bayernets | DE | DE THE BZ | RAG | AT | Austria
[5 empty] | 40.06 | RAG | AT | Austria | bayernets | DE | DE THE BZ
25 | V | VIP Oberkappel |  |  | 159.89 | Gas Connect Austria | AT | Austria | Open Grid Europe | DE | DE THE BZ
[5 empty] | 199.3864 | Open Grid Europe | DE | DE THE BZ | Gas Connect Austria | AT | Austria
26 |  | Tarvisio (IT) / Arnoldstein (AT) |  |  | 1176.11 | TAG | AT | Austria | Snam Rete Gas | IT | Italy
[5 empty] | 194.05 | Snam Rete Gas | IT | Italy | TAG | AT | Austria
27 |  | Griespass (CH) / Passo Gries (IT) |  |  | 640.48 | FluxSwiss | CH | Switzerland | Snam Rete Gas | IT | Italy
[6 empty] | Swissgas | CH | Switzerland | Snam Rete Gas | IT | Italy
[5 empty] | 374.81 | Snam Rete Gas | IT | Italy | FluxSwiss | CH | Switzerland
[6 empty] | Snam Rete Gas | IT | Italy | Swissgas | CH | Switzerland
28 |  | Bizzarone |  |  | 13.04 | Snam Rete Gas | IT | Italy |  | CH | Switzerland
29 |  | Gorizia (IT) /Šempeter (SI) |  |  | 38.99 | Snam Rete Gas | IT | Italy | Plinovodi | SI | Slovenia
[5 empty] | 25.77 | Plinovodi | SI | Slovenia | Snam Rete Gas | IT | Italy
30 |  | Rogatec |  |  | 7.7 | Plinacro Ltd | HR | Croatia | Plinovodi | SI | Slovenia
[5 empty] | 53.7 | Plinovodi | SI | Slovenia | Plinacro Ltd | HR | Croatia
31 |  | Murfeld (AT) / Ceršak (SI) |  |  | 112.5 | Gas Connect Austria | AT | Austria | Plinovodi | SI | Slovenia
33 | V | VIP PIRINEOS |  |  | 224.4 | Enagas | ES | Spain | TERÉGA | FR | TRF
[5 empty] | 164.57 | TERÉGA | FR | TRF | Enagas | ES | Spain
34 | V | VIP IBERICO |  |  | 144 | Enagas | ES | Spain | REN - Gasodutos | PT | Portugal
[5 empty] | 80 | REN - Gasodutos | PT | Portugal | Enagas | ES | Spain
36 | V | VIP DK-THE |  |  | 123.627 | Open Grid Europe | DE | DE THE BZ | Energinet | DK | Joint Bal Zone DK/SE
[6 empty] | Gasunie Deutschland | DE | DE THE BZ | Energinet | DK | Joint Bal Zone DK/SE
[5 empty] | 15.7 | Energinet | DK | Joint Bal Zone DK/SE | Open Grid Europe | DE | NCG
[6 empty] | Energinet | DK | Joint Bal Zone DK/SE | Gasunie Deutschland | DE | GASPOOL
37 |  | Faxe |  |  | 321.6 | Energinet | DK | Joint Bal Zone DK/SE | GAZ-SYSTEM | PL | Poland H-gas
[5 empty] | 91.2 | GAZ-SYSTEM | PL | Poland H-gas | Energinet | DK | Joint Bal Zone DK/SE
38 |  | Mallnow |  |  | 277.58 | GASCADE Gastransport | DE | DE THE BZ | GAZ-SYSTEM (ISO) | PL | TGPS (YAMAL)
39 | V | GCP GAZ-SYSTEM/ONTRAS According to Art. 19 (9) of CAM NC, ONTRAS and GAZ-SYSTEM agreed to offer the capacity at one virtual interconnection point - GCP GAZ-SYSTEM/ONTRAS |  |  | 48.7 | ONTRAS | DE | DE THE BZ | GAZ-SYSTEM | PL | Poland H-gas
[5 empty] | 0.09 | GAZ-SYSTEM | PL | Poland H-gas | ONTRAS | DE | DE THE BZ
40 | V | VIP Brandov |  |  | 1628 | GASCADE Gastransport | DE | DE THE BZ | NET4GAS | CZ | Czech
[5 empty] | 335.13 | NET4GAS | CZ | Czech | GASCADE Gastransport | DE | DE THE BZ
41 | V | VIP Waidhaus No firm capacity is offered to exit from DE side, on CZ side an entry capacity of 120 GWh/d is available. Since 03/2019 VIP Waidhaus is in operation. |  |  | 625.84 | NET4GAS | CZ | Czech | Open Grid Europe | DE | DE THE BZ
[6 empty] | NET4GAS | CZ | Czech | GRTgaz Deutschland | DE | DE THE BZ
42 |  | Cieszyn (PL) / Český Těšín (CZ) CZ>PL: 4,3 GWh/d from May to September |  |  | 28.03 | NET4GAS | CZ | Czech | GAZ-SYSTEM | PL | Poland H-gas
43 |  | Vyrava |  |  | 144.504 | eustream | SK | Slovakia | GAZ-SYSTEM | PL | Poland H-gas
[5 empty] | 173.94 | GAZ-SYSTEM | PL | Poland H-gas | eustream | SK | Slovakia
45 |  | Lanžhot |  |  | 1399 | NET4GAS | CZ | Czech | eustream | SK | Slovakia
[5 empty] | 395.2 | eustream | SK | Slovakia | NET4GAS | CZ | Czech
46 |  | Baumgarten |  |  | 246.5 | Gas Connect Austria | AT | Austria | eustream | SK | Slovakia
[6 empty] | TAG | AT | Austria | eustream | SK | Slovakia
[5 empty] | 1570.4 | eustream | SK | Slovakia | Gas Connect Austria | AT | Austria
[6 empty] | eustream | SK | Slovakia | TAG | AT | Austria
47 |  | Mosonmagyarovar |  |  | 153.08 | Gas Connect Austria | AT | Austria | FGSZ | HU | Hungary
48 |  | Dolni Bojanovice Capacity is offered with the aggregated capacity of the IP Lanžhot |  |  | 74.34 | eustream | SK | Slovakia | SPP Storage | SK | Slovakia
[5 empty] | 95.58 | SPP Storage | SK | Slovakia | eustream | SK | Slovakia
49 |  | Láb (SK) / Láb IV (AT) |  |  | 138.3 | Gas Connect Austria | AT | Austria | NAFTA | SK | Slovakia
[6 empty] | Gas Connect Austria | AT | Austria | POZAGAS | SK | Slovakia
[5 empty] | 138.3 | NAFTA | SK | Slovakia | Gas Connect Austria | AT | Austria
[6 empty] | POZAGAS | SK | Slovakia | Gas Connect Austria | AT | Austria
50 |  | Balassagyarmat (HU) / Velké Zlievce (SK) |  |  | 50.88 | FGSZ | HU | Hungary | eustream | SK | Slovakia
[5 empty] | 128.97 | eustream | SK | Slovakia | FGSZ | HU | Hungary
51 |  | Kulata (BG) / Sidirokastron (GR) |  |  | 120.36 | Bulgartransgaz | BG | Bulgaria | DESFA | GR | Greece
[5 empty] | 66.57 | DESFA | GR | Greece | Bulgartransgaz | BG | Bulgaria
52 |  | Ruse (BG) / Giurgiu (RO) |  |  | 26.734 | Bulgartransgaz | BG | Bulgaria | Transgaz | RO | RO_NTS
[5 empty] | 43.817 | Transgaz | RO | RO_NTS | Bulgartransgaz | BG | Bulgaria
53 |  | Negru Voda I (RO) / Kardam (BG) |  |  | 185 | Bulgartransgaz | BG | NGTN-BG | Transgaz | RO | RO_NTS
[5 empty] | 187.6 | Transgaz | RO | RO_NTS | Bulgartransgaz | BG | NGTN-BG
54 |  | Kyustendil (BG) / Zidilovo (MK) |  |  | 33.28 | Bulgartransgaz | BG | Bulgaria | GA-MA - Skopje | MK | FYROM
55 |  | Kireevo (BG) / Zaychar (RS) |  |  | 406.524 | Bulgartransgaz | BG | Bulgaria | GASTRANS | RS | Serbia
[5 empty] | 342.336 | GASTRANS | RS | Serbia | Bulgartransgaz | BG | Bulgaria
56 |  | KALOTINA (BG)/ DIMITROVGRAD (RS) |  |  | 53.244 | Bulgartransgaz | BG | Bulgaria | GASTRANS | RS | Serbia
[5 empty] | 7.776 | GASTRANS | RS | Serbia | Bulgartransgaz | BG | Bulgaria
57 |  | Dravaszerdahely |  |  | 50.9 | Plinacro Ltd | HR | Croatia | FGSZ | HU | Hungary
[5 empty] | 77.2 | FGSZ | HU | Hungary | Plinacro Ltd | HR | Croatia
58 |  | Kiskundorozsma (HU>RS) |  |  | 141.98 | FGSZ | HU | Hungary | Srbijagas | RS | Serbia
59 |  | Csanadpalota |  |  | 77.46 | FGSZ | HU | Hungary | Transgaz | RO | RO_NTS
[5 empty] | 73.37 | Transgaz | RO | RO_NTS | FGSZ | HU | Hungary
60 |  | Zvornik |  |  | 14 | Srbijagas | RS | Serbia | BH Gas | BA | Bosnia and Herzegovina
61 |  | Balticconnector Expected capacity after recommissioning and enhancing of the regional gas system |  |  | 78 | Gasgrid Finland | FI | Finland | Estonia | EE | Joint Bal Zone EE/LV
[5 empty] | 70,5 | Estonia | EE | Joint Bal Zone EE/LV | Gasgrid Finland | FI | Finland
62 |  | Kiemenai |  |  | 90 | Amber Grid | LT | Lithuania | Conexus | LV | Joint Bal Zone EE/LV
[5 empty] | 82 | Conexus | LV | Joint Bal Zone EE/LV | Amber Grid | LT | Lithuania
63 |  | Sakiai |  |  | 114.2 | Amber Grid | LT | Lithuania | GAZPROM
64 |  | Luhamaa This is a virtual transit point through Estonia between Russia and Latvia. No metering station in Estonia. |  |  | 105 | Conexus | LV | Joint Bal Zone EE/LV | GAZPROM
[5 empty] | 105 | GAZPROM |  |  | Conexus | LV | Joint Bal Zone EE/LV
65 |  | Santaka |  |  | 21.408 | GAZ-SYSTEM | PL | Poland H-gas | Amber Grid | LT | Lithuania
[5 empty] | 58.0692 | Amber Grid | LT | Lithuania | GAZ-SYSTEM | PL | Poland H-gas
66 |  | Budince |  |  | 436.8 | eustream | SK | Slovakia | TSOUA | UA | Ukraine
[5 empty] | 249.6 | TSOUA | UA | Ukraine | eustream | SK | Slovakia
67 |  | Ungheni |  |  | 21.6 | VMTG | VMTG | MD | Moldova | RO | RO_NTS
[5 empty] | 55.7 | Transgaz | RO | RO_NTS | VMTG | MD | Moldova
70 |  | Melendugno - IT / TAP |  |  | 494.33 | TAP | AL | Albania | Snam Rete Gas | IT | Italy
71 |  | Nea Mesimvria |  |  | 53.36 | TAP | GR | Greece | DESFA | GR | Greece
72 |  | IP Stara Zagora |  |  | 106 | ICGB | GR | Greece | Bulgartransgaz | BG | Bulgaria
Intra-Balancing Zone Point
150 |  | Nybro |  |  | 528 | Orsted | DK | Joint Bal Zone DK/SE | Energinet | DK | Joint Bal Zone DK/SE
151 |  | Rep. San Marino |  |  | 4.31 | Snam Rete Gas | IT | Italy | Snam Rete Gas | SM | San Marino
152 | V | Point of Interconnection (PWP) (PL) |  |  | 277.6 | GAZ-SYSTEM (ISO) | PL | TGPS (YAMAL) | GAZ-SYSTEM | PL | Poland H-gas
153 | V | GDLux (BE) / Bras Petange (LU) |  |  | 48.8 | Fluxys Belgium | BE | BeLux | Creos Luxembourg | LU | BeLux
Cross-border IP with non-EU (import)
200 |  | St. Fergus |  |  | 705.77 | Gassco | NO | Norway | National Gas TSO | UK | UK
201 |  | Dornum (EPT1 & EPT2) |  |  | 576.5696 | Gassco | NO | Norway | Open Grid Europe | DE | DE THE BZ
202 |  | Dornum Gaspool |  |  | 153.9 | Gassco | NO | Norway | Open Grid Europe | DE | DE THE BZ
203 |  | Emden (EPT1) GTS entries at Emden EPT and Bunde/OSZ (OGE, GUD-H, GASCADE) are limited by a cluster capacity of 1.517,9 GWh/d. |  |  | 1465.4575 | Gassco | NO | Norway | Open Grid Europe | DE | DE THE BZ
[9 empty] | Gasunie Deutschland | DE | DE THE BZ
[9 empty] | GTS | NL | Netherlands
[9 empty] | Thyssengas | DE | DE THE BZ
203 |  | Emden (NPT) Since 1st of October 2015, this point has been merged into Emden EPT. |  |  | 356 | Gassco | NO
204 |  | Zeebrugge ZPT |  |  | 488.4 | Gassco | NO | Norway | Fluxys Belgium | BE | BeLux
205 |  | Dunkerque |  |  | 575 | Gassco | NO | Norway | GRTgaz | FR | TRF
206 |  | Easington |  |  | 793.33 | Gassco | NO | Norway | National Gas TSO | UK | UK
207 |  | North Sea Entry |  |  | 321.6 | Gassco | NO | Norway | Energynet
210 |  | Tarifa |  |  | 31.917 | Enagas | ES | Spain | EMPL | MA | Marroco
[5 empty] | 442.85 | EMPL | MA | Marroco | Enagas | ES | Spain
211 |  | Almería |  |  | 337.12 | MEDGAZ | DZ | Algeria | Enagas | ES | Spain
212 |  | Mazara del Vallo SRG entry points at Mazara and Gela are limited by a cluster capacity of 1385,3 Gwh/d |  |  | 1154.47 | TPMC | DZ | Algeria | Snam Rete Gas | IT | Italy
213 |  | Gela SRG entry points at Mazara and Gela are limited by a cluster capacity of 1385,3 Gwh/d |  |  | 493.74 | Green Stream | LY | Libya | Snam Rete Gas | IT | Italy
220 |  | Kotlovka Part of these technical capacities is only available for gas transit to a third country. |  |  | 325.4 | Gazprom | BY | Belarus | Amber Grid | LT | Lithuania
221 | V | GCP GAZ-SYSTEM/UA TSO added due to VIP creation |  |  | 135.6 | GTSOU | UA | Ukraine | GAZ-SYSTEM | PL | Poland H-gas
222 |  | Uzhhorod (UA) - Velké Kapušany (SK) |  |  | 1913.6 | GTSOU | UA | Ukraine | eustream | SK | Slovakia
223 | V | VIP Bereg (HU) / VIP Bereg (UA) Virtual Interconnection Point |  |  | 517.47 | GTSOU | UA | Ukraine | FGSZ | HU | Hungary
225 |  | Isaccea (RO) - Orlovka (UA) I |  |  | 201.88 | GTSOU | UA | Ukraine | Transgaz | RO | RO_NTS
226 |  | Strandzha 2 (BG) / Malkoclar (TR) |  |  | 584.106 | Botas | TR | Turkey | Bulgartransgaz | BG | Bulgaria
240 |  | Kipoi |  |  | 390 | TANAP | TR | Turkey | Trans Adriatic Pipeline | GR | Greece
LNG Entry point
300 |  | Zeebrugge LNG |  |  | 668.9 | Fluxys LNG |  |  | Fluxys Belgium | BE | BeLux
301 |  | Montoir de Bretagne |  |  | 320.548 | Elengy |  |  | GRTgaz | FR | TRF
302 |  | Fos (Tonkin/Cavaou) |  |  | 368.63 | Fosmax LNG Elengy |  |  | GRTgaz | FR | TRF
303 |  | Dunkerque LNG |  |  | 519 | Dunkerque LNG |  |  | GRTgaz | FR | TRF
304 |  | Le Havre |  |  | 150 | TELSF |  |  | GRTgaz | FR | TRF
305 |  | Gate Terminal |  |  | 504 | Gate Terminal |  |  | GTS | NL | Netherlands
306 |  | Eems Energy Terminal |  |  | 360 | EET |  |  | GTS | NL | Netherlands
310 |  | Barcelona |  |  | 542.9 | Enagás (LSO) |  |  | Enagas | ES | Spain
311 |  | Sagunto |  |  | 278.3 | Saggas |  |  | Enagas | ES | Spain
312 |  | Cartagena |  |  | 375.83 | Enagás (LSO) |  |  | Enagas | ES | Spain
313 |  | Huelva |  |  | 375.83 | Enagás (LSO) |  |  | Enagas | ES | Spain
314 |  | Mugardos |  |  | 115.2 | Reganosa |  |  | Enagas | ES | Spain
315 |  | Bilbao |  |  | 222.42 | BBG |  |  | Enagas | ES | Spain
316 |  | Musel |  |  | 222.72 | Musel Energy Hub |  |  | Enagas | ES | Spain
317 |  | Sines |  |  | 200 | REN Atlántico |  |  | REN - Gasodutos | PT | Portugal
320 |  | Panigaglia |  |  | 108.986 | GNL Italia |  |  | Snam Rete Gas | IT | Italy
321 |  | Cavarzere (Porto Levante / Adriatic LNG) In the integrated management of the whole gas system, SNAM carries out some activities on the basis of an agreement with ITG (capacity allocation and management, balancing). In this context, data for Cavarzere IP are published by SNAM on behalf of ITG. |  |  | 288.493 | GNL Adriatico |  |  | Snam Rete Gas | IT | Italy
322 |  | OLT LNG / Livorno |  |  | 113.795 | OLT |  |  | Snam Rete Gas | IT | Italy
323 |  | Piombino |  |  | 151.6115 | FSRU Italia |  |  | SNAM | IT | Italy
324 |  | Agia Triada Revythoussa LNG Terminal is located on Revythoussa island. Agia Triada is the Entry Point in DESFA’s NGTS (Natural Gas Transmission System) and is located on the continent. It communicates with the LNG Terminal with two underwater pipelines. |  |  | 224.59 | DESFA |  |  | DESFA | GR | Greece
325 |  | LNG Croatia |  |  | 85 | LNG Hrvatska |  |  | Plinacro Ltd | HR | Croatia
330 |  | Klaipeda (LNG) |  |  | 122.35 | AB Klaipedos Nafta |  |  | Amber Grid | LT | Lithuania
331 |  | Swinoujscie |  |  | 227.3 | GAZ-SYSTEM |  |  | GAZ-SYSTEM | PL | Poland H-gas
332 |  | Inkoo LNG |  |  | 146 | Gasgrid |  |  | Gasgrid | FI | Finland
333 |  | Wilhelmshaven Capacities shown refer to 01.01.2024. Capacity increase during 2024 is planned |  |  | 244.8 | DET |  |  | Open Grid Europe | DE | Germany
334 |  | Brunsbuettel Hafen |  |  | 147.72 | DET |  |  | Gasunie Deutschland | DE | Germany
335 |  | Stade |  |  | 96.93 | DET |  |  | Gasunie Deutschland | DE | Germany
336 |  | Baltic Energy Gate (PORT) Capacities shown refer to 01.01.2024. Capacity increase during 2024 is planned |  |  | 144 | DRG |  |  | NEL | DE | Germany
|  | Baltic Energy Gate |  |  | start of operation sometime at the beginning of 2024 |  |  |  | GASCADE | DE | Germany
350 |  | Isle of Grain |  |  | 699.68 | Gain LNG |  |  | National Gas TSO | UK | UK
351 |  | Milford Haven |  |  | 916.767 | Dragon LNG |  |  | National Gas TSO | UK | UK
South Hook

## Cross_table
Column1 | UK | BE | NL | DE | AT | IT | CH | SI | HR | FR | DK | PL | CZ | SK | HU | RS | BG | GR | RO | LT | LV | ES | PT | UA | MD | RU | AL | LU | IE | BA | MK | TR | SM | NO | DZ | TN | LY | BY | EE | FI
UK | 1455 | 651.7 | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 386.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BE | 803.4 | 0 | 428 | 542 | 0 | 0 | 0 | 0 | 0 | 530 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NL | 494.4 | 1387.5635 | 0 | 1849.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DE | 0 | 356 | 1513.9 | 0 | 710.9404 | 0 | 353.83 | 0 | 0 | 613.7417 | 123.627 | 326.28 | 1628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AT | 0 | 0 | 0 | 797.936 | 0 | 1176.11 | 0 | 112.5 | 0 | 0 | 0 | 0 | 0 | 384.8 | 153.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IT | 0 | 0 | 0 | 0 | 194.05 | 0 | 387.85 | 38.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH | 0 | 0 | 0 | 240 | 0 | 640.48 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SI | 0 | 0 | 0 | 0 | 0 | 25.77 | 0 | 0 | 53.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 50.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FR | 0 | 270 | 0 | 100 | 0 | 0 | 259.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DK | 0 | 0 | 0 | 15.7 | 0 | 0 | 0 | 0 | 0 | 0 | 528 | 321.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PL | 0 | 0 | 0 | 0.09 | 0 | 0 | 0 | 0 | 0 | 0 | 91.2 | 277.6 | 0 | 173.94 | 0 | 0 | 0 | 0 | 0 | 21.408 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CZ | 0 | 0 | 0 | 960.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.03 | 0 | 1399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SK | 0 | 0 | 0 | 0 | 1708.7 | 0 | 0 | 0 | 0 | 0 | 0 | 144.504 | 395.2 | 169.92 | 128.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77.2 | 0 | 0 | 0 | 0 | 50.88 | 0 | 141.98 | 0 | 0 | 77.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 350.112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 459.768 | 0 | 120.36 | 211.734 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 172.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73.37 | 0 | 231.417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58.0692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135.6 | 0 | 2163.2 | 517.47 | 0 | 0 | 0 | 201.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AL | 0 | 0 | 0 | 0 | 0 | 494.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 584.106 | 390 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NO | 1499.1 | 488.4 | 0 | 2195.9271 | 0 | 0 | 0 | 0 | 0 | 575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DZ | 0 | 0 | 0 | 0 | 0 | 1154.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 337.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LY | 0 | 0 | 0 | 0 | 0 | 493.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 325.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 0

## Connections_cross_table
From | To | Value
UK | UK | 1455
UK | BE | 651.7
UK | NL | 168
UK | DE | 0
UK | AT | 0
UK | IT | 0
UK | CH | 0
UK | SI | 0
UK | HR | 0
UK | FR | 0
UK | DK | 0
UK | PL | 0
UK | CZ | 0
UK | SK | 0
UK | HU | 0
UK | RS | 0
UK | BG | 0
UK | GR | 0
UK | RO | 0
UK | LT | 0
UK | LV | 0
UK | ES | 0
UK | PT | 0
UK | UA | 0
UK | MD | 0
UK | RU | 0
UK | AL | 0
UK | LU | 0
UK | IE | 386.58
UK | BA | 0
UK | MK | 0
UK | TR | 0
UK | SM | 0
UK | NO | 0
UK | DZ | 0
UK | TN | 0
UK | LY | 0
UK | BY | 0
UK | EE | 0
UK | FI | 0
BE | UK | 803.4
BE | BE | 0
BE | NL | 428
BE | DE | 542
BE | AT | 0
BE | IT | 0
BE | CH | 0
BE | SI | 0
BE | HR | 0
BE | FR | 530
BE | DK | 0
BE | PL | 0
BE | CZ | 0
BE | SK | 0
BE | HU | 0
BE | RS | 0
BE | BG | 0
BE | GR | 0
BE | RO | 0
BE | LT | 0
BE | LV | 0
BE | ES | 0
BE | PT | 0
BE | UA | 0
BE | MD | 0
BE | RU | 0
BE | AL | 0
BE | LU | 48.8
BE | IE | 0
BE | BA | 0
BE | MK | 0
BE | TR | 0
BE | SM | 0
BE | NO | 0
BE | DZ | 0
BE | TN | 0
BE | LY | 0
BE | BY | 0
BE | EE | 0
BE | FI | 0
NL | UK | 494.4
NL | BE | 1387.5635
NL | NL | 0
NL | DE | 1849.15
NL | AT | 0
NL | IT | 0
NL | CH | 0
NL | SI | 0
NL | HR | 0
NL | FR | 0
NL | DK | 0
NL | PL | 0
NL | CZ | 0
NL | SK | 0
NL | HU | 0
NL | RS | 0
NL | BG | 0
NL | GR | 0
NL | RO | 0
NL | LT | 0
NL | LV | 0
NL | ES | 0
NL | PT | 0
NL | UA | 0
NL | MD | 0
NL | RU | 0
NL | AL | 0
NL | LU | 0
NL | IE | 0
NL | BA | 0
NL | MK | 0
NL | TR | 0
NL | SM | 0
NL | NO | 0
NL | DZ | 0
NL | TN | 0
NL | LY | 0
NL | BY | 0
NL | EE | 0
NL | FI | 0
DE | UK | 0
DE | BE | 356
DE | NL | 1513.9
DE | DE | 0
DE | AT | 710.9404
DE | IT | 0
DE | CH | 353.83
DE | SI | 0
DE | HR | 0
DE | FR | 613.7417
DE | DK | 123.627
DE | PL | 326.28
DE | CZ | 1628
DE | SK | 0
DE | HU | 0
DE | RS | 0
DE | BG | 0
DE | GR | 0
DE | RO | 0
DE | LT | 0
DE | LV | 0
DE | ES | 0
DE | PT | 0
DE | UA | 0
DE | MD | 0
DE | RU | 0
DE | AL | 0
DE | LU | 24
DE | IE | 0
DE | BA | 0
DE | MK | 0
DE | TR | 0
DE | SM | 0
DE | NO | 0
DE | DZ | 0
DE | TN | 0
DE | LY | 0
DE | BY | 0
DE | EE | 0
DE | FI | 0
AT | UK | 0
AT | BE | 0
AT | NL | 0
AT | DE | 797.936
AT | AT | 0
AT | IT | 1176.11
AT | CH | 0
AT | SI | 112.5
AT | HR | 0
AT | FR | 0
AT | DK | 0
AT | PL | 0
AT | CZ | 0
AT | SK | 384.8
AT | HU | 153.08
AT | RS | 0
AT | BG | 0
AT | GR | 0
AT | RO | 0
AT | LT | 0
AT | LV | 0
AT | ES | 0
AT | PT | 0
AT | UA | 0
AT | MD | 0
AT | RU | 0
AT | AL | 0
AT | LU | 0
AT | IE | 0
AT | BA | 0
AT | MK | 0
AT | TR | 0
AT | SM | 0
AT | NO | 0
AT | DZ | 0
AT | TN | 0
AT | LY | 0
AT | BY | 0
AT | EE | 0
AT | FI | 0
IT | UK | 0
IT | BE | 0
IT | NL | 0
IT | DE | 0
IT | AT | 194.05
IT | IT | 0
IT | CH | 387.85
IT | SI | 38.99
IT | HR | 0
IT | FR | 0
IT | DK | 0
IT | PL | 0
IT | CZ | 0
IT | SK | 0
IT | HU | 0
IT | RS | 0
IT | BG | 0
IT | GR | 0
IT | RO | 0
IT | LT | 0
IT | LV | 0
IT | ES | 0
IT | PT | 0
IT | UA | 0
IT | MD | 0
IT | RU | 0
IT | AL | 0
IT | LU | 0
IT | IE | 0
IT | BA | 0
IT | MK | 0
IT | TR | 0
IT | SM | 4.31
IT | NO | 0
IT | DZ | 0
IT | TN | 0
IT | LY | 0
IT | BY | 0
IT | EE | 0
IT | FI | 0
CH | UK | 0
CH | BE | 0
CH | NL | 0
CH | DE | 240
CH | AT | 0
CH | IT | 640.48
CH | CH | 0
CH | SI | 0
CH | HR | 0
CH | FR | 100
CH | DK | 0
CH | PL | 0
CH | CZ | 0
CH | SK | 0
CH | HU | 0
CH | RS | 0
CH | BG | 0
CH | GR | 0
CH | RO | 0
CH | LT | 0
CH | LV | 0
CH | ES | 0
CH | PT | 0
CH | UA | 0
CH | MD | 0
CH | RU | 0
CH | AL | 0
CH | LU | 0
CH | IE | 0
CH | BA | 0
CH | MK | 0
CH | TR | 0
CH | SM | 0
CH | NO | 0
CH | DZ | 0
CH | TN | 0
CH | LY | 0
CH | BY | 0
CH | EE | 0
CH | FI | 0
SI | UK | 0
SI | BE | 0
SI | NL | 0
SI | DE | 0
SI | AT | 0
SI | IT | 25.77
SI | CH | 0
SI | SI | 0
SI | HR | 53.7
SI | FR | 0
SI | DK | 0
SI | PL | 0
SI | CZ | 0
SI | SK | 0
SI | HU | 0
SI | RS | 0
SI | BG | 0
SI | GR | 0
SI | RO | 0
SI | LT | 0
SI | LV | 0
SI | ES | 0
SI | PT | 0
SI | UA | 0
SI | MD | 0
SI | RU | 0
SI | AL | 0
SI | LU | 0
SI | IE | 0
SI | BA | 0
SI | MK | 0
SI | TR | 0
SI | SM | 0
SI | NO | 0
SI | DZ | 0
SI | TN | 0
SI | LY | 0
SI | BY | 0
SI | EE | 0
SI | FI | 0
HR | UK | 0
HR | BE | 0
HR | NL | 0
HR | DE | 0
HR | AT | 0
HR | IT | 0
HR | CH | 0
HR | SI | 7.7
HR | HR | 0
HR | FR | 0
HR | DK | 0
HR | PL | 0
HR | CZ | 0
HR | SK | 0
HR | HU | 50.9
HR | RS | 0
HR | BG | 0
HR | GR | 0
HR | RO | 0
HR | LT | 0
HR | LV | 0
HR | ES | 0
HR | PT | 0
HR | UA | 0
HR | MD | 0
HR | RU | 0
HR | AL | 0
HR | LU | 0
HR | IE | 0
HR | BA | 0
HR | MK | 0
HR | TR | 0
HR | SM | 0
HR | NO | 0
HR | DZ | 0
HR | TN | 0
HR | LY | 0
HR | BY | 0
HR | EE | 0
HR | FI | 0
FR | UK | 0
FR | BE | 270
FR | NL | 0
FR | DE | 100
FR | AT | 0
FR | IT | 0
FR | CH | 259.02
FR | SI | 0
FR | HR | 0
FR | FR | 0
FR | DK | 0
FR | PL | 0
FR | CZ | 0
FR | SK | 0
FR | HU | 0
FR | RS | 0
FR | BG | 0
FR | GR | 0
FR | RO | 0
FR | LT | 0
FR | LV | 0
FR | ES | 164.57
FR | PT | 0
FR | UA | 0
FR | MD | 0
FR | RU | 0
FR | AL | 0
FR | LU | 0
FR | IE | 0
FR | BA | 0
FR | MK | 0
FR | TR | 0
FR | SM | 0
FR | NO | 0
FR | DZ | 0
FR | TN | 0
FR | LY | 0
FR | BY | 0
FR | EE | 0
FR | FI | 0
DK | UK | 0
DK | BE | 0
DK | NL | 0
DK | DE | 15.7
DK | AT | 0
DK | IT | 0
DK | CH | 0
DK | SI | 0
DK | HR | 0
DK | FR | 0
DK | DK | 528
DK | PL | 321.6
DK | CZ | 0
DK | SK | 0
DK | HU | 0
DK | RS | 0
DK | BG | 0
DK | GR | 0
DK | RO | 0
DK | LT | 0
DK | LV | 0
DK | ES | 0
DK | PT | 0
DK | UA | 0
DK | MD | 0
DK | RU | 0
DK | AL | 0
DK | LU | 0
DK | IE | 0
DK | BA | 0
DK | MK | 0
DK | TR | 0
DK | SM | 0
DK | NO | 0
DK | DZ | 0
DK | TN | 0
DK | LY | 0
DK | BY | 0
DK | EE | 0
DK | FI | 0
PL | UK | 0
PL | BE | 0
PL | NL | 0
PL | DE | 0.09
PL | AT | 0
PL | IT | 0
PL | CH | 0
PL | SI | 0
PL | HR | 0
PL | FR | 0
PL | DK | 91.2
PL | PL | 277.6
PL | CZ | 0
PL | SK | 173.94
PL | HU | 0
PL | RS | 0
PL | BG | 0
PL | GR | 0
PL | RO | 0
PL | LT | 21.408
PL | LV | 0
PL | ES | 0
PL | PT | 0
PL | UA | 0
PL | MD | 0
PL | RU | 0
PL | AL | 0
PL | LU | 0
PL | IE | 0
PL | BA | 0
PL | MK | 0
PL | TR | 0
PL | SM | 0
PL | NO | 0
PL | DZ | 0
PL | TN | 0
PL | LY | 0
PL | BY | 0
PL | EE | 0
PL | FI | 0
CZ | UK | 0
CZ | BE | 0
CZ | NL | 0
CZ | DE | 960.97
CZ | AT | 0
CZ | IT | 0
CZ | CH | 0
CZ | SI | 0
CZ | HR | 0
CZ | FR | 0
CZ | DK | 0
CZ | PL | 28.03
CZ | CZ | 0
CZ | SK | 1399
CZ | HU | 0
CZ | RS | 0
CZ | BG | 0
CZ | GR | 0
CZ | RO | 0
CZ | LT | 0
CZ | LV | 0
CZ | ES | 0
CZ | PT | 0
CZ | UA | 0
CZ | MD | 0
CZ | RU | 0
CZ | AL | 0
CZ | LU | 0
CZ | IE | 0
CZ | BA | 0
CZ | MK | 0
CZ | TR | 0
CZ | SM | 0
CZ | NO | 0
CZ | DZ | 0
CZ | TN | 0
CZ | LY | 0
CZ | BY | 0
CZ | EE | 0
CZ | FI | 0
SK | UK | 0
SK | BE | 0
SK | NL | 0
SK | DE | 0
SK | AT | 1708.7
SK | IT | 0
SK | CH | 0
SK | SI | 0
SK | HR | 0
SK | FR | 0
SK | DK | 0
SK | PL | 144.504
SK | CZ | 395.2
SK | SK | 169.92
SK | HU | 128.97
SK | RS | 0
SK | BG | 0
SK | GR | 0
SK | RO | 0
SK | LT | 0
SK | LV | 0
SK | ES | 0
SK | PT | 0
SK | UA | 436.8
SK | MD | 0
SK | RU | 0
SK | AL | 0
SK | LU | 0
SK | IE | 0
SK | BA | 0
SK | MK | 0
SK | TR | 0
SK | SM | 0
SK | NO | 0
SK | DZ | 0
SK | TN | 0
SK | LY | 0
SK | BY | 0
SK | EE | 0
SK | FI | 0
HU | UK | 0
HU | BE | 0
HU | NL | 0
HU | DE | 0
HU | AT | 0
HU | IT | 0
HU | CH | 0
HU | SI | 0
HU | HR | 77.2
HU | FR | 0
HU | DK | 0
HU | PL | 0
HU | CZ | 0
HU | SK | 50.88
HU | HU | 0
HU | RS | 141.98
HU | BG | 0
HU | GR | 0
HU | RO | 77.46
HU | LT | 0
HU | LV | 0
HU | ES | 0
HU | PT | 0
HU | UA | 0
HU | MD | 0
HU | RU | 0
HU | AL | 0
HU | LU | 0
HU | IE | 0
HU | BA | 0
HU | MK | 0
HU | TR | 0
HU | SM | 0
HU | NO | 0
HU | DZ | 0
HU | TN | 0
HU | LY | 0
HU | BY | 0
HU | EE | 0
HU | FI | 0
RS | UK | 0
RS | BE | 0
RS | NL | 0
RS | DE | 0
RS | AT | 0
RS | IT | 0
RS | CH | 0
RS | SI | 0
RS | HR | 0
RS | FR | 0
RS | DK | 0
RS | PL | 0
RS | CZ | 0
RS | SK | 0
RS | HU | 0
RS | RS | 0
RS | BG | 350.112
RS | GR | 0
RS | RO | 0
RS | LT | 0
RS | LV | 0
RS | ES | 0
RS | PT | 0
RS | UA | 0
RS | MD | 0
RS | RU | 0
RS | AL | 0
RS | LU | 0
RS | IE | 0
RS | BA | 14
RS | MK | 0
RS | TR | 0
RS | SM | 0
RS | NO | 0
RS | DZ | 0
RS | TN | 0
RS | LY | 0
RS | BY | 0
RS | EE | 0
RS | FI | 0
BG | UK | 0
BG | BE | 0
BG | NL | 0
BG | DE | 0
BG | AT | 0
BG | IT | 0
BG | CH | 0
BG | SI | 0
BG | HR | 0
BG | FR | 0
BG | DK | 0
BG | PL | 0
BG | CZ | 0
BG | SK | 0
BG | HU | 0
BG | RS | 459.768
BG | BG | 0
BG | GR | 120.36
BG | RO | 211.734
BG | LT | 0
BG | LV | 0
BG | ES | 0
BG | PT | 0
BG | UA | 0
BG | MD | 0
BG | RU | 0
BG | AL | 0
BG | LU | 0
BG | IE | 0
BG | BA | 0
BG | MK | 33.28
BG | TR | 0
BG | SM | 0
BG | NO | 0
BG | DZ | 0
BG | TN | 0
BG | LY | 0
BG | BY | 0
BG | EE | 0
BG | FI | 0
GR | UK | 0
GR | BE | 0
GR | NL | 0
GR | DE | 0
GR | AT | 0
GR | IT | 0
GR | CH | 0
GR | SI | 0
GR | HR | 0
GR | FR | 0
GR | DK | 0
GR | PL | 0
GR | CZ | 0
GR | SK | 0
GR | HU | 0
GR | RS | 0
GR | BG | 172.57
GR | GR | 0
GR | RO | 0
GR | LT | 0
GR | LV | 0
GR | ES | 0
GR | PT | 0
GR | UA | 0
GR | MD | 0
GR | RU | 0
GR | AL | 0
GR | LU | 0
GR | IE | 0
GR | BA | 0
GR | MK | 0
GR | TR | 0
GR | SM | 0
GR | NO | 0
GR | DZ | 0
GR | TN | 0
GR | LY | 0
GR | BY | 0
GR | EE | 0
GR | FI | 0
RO | UK | 0
RO | BE | 0
RO | NL | 0
RO | DE | 0
RO | AT | 0
RO | IT | 0
RO | CH | 0
RO | SI | 0
RO | HR | 0
RO | FR | 0
RO | DK | 0
RO | PL | 0
RO | CZ | 0
RO | SK | 0
RO | HU | 73.37
RO | RS | 0
RO | BG | 231.417
RO | GR | 0
RO | RO | 0
RO | LT | 0
RO | LV | 0
RO | ES | 0
RO | PT | 0
RO | UA | 0
RO | MD | 55.7
RO | RU | 0
RO | AL | 0
RO | LU | 0
RO | IE | 0
RO | BA | 0
RO | MK | 0
RO | TR | 0
RO | SM | 0
RO | NO | 0
RO | DZ | 0
RO | TN | 0
RO | LY | 0
RO | BY | 0
RO | EE | 0
RO | FI | 0
LT | UK | 0
LT | BE | 0
LT | NL | 0
LT | DE | 0
LT | AT | 0
LT | IT | 0
LT | CH | 0
LT | SI | 0
LT | HR | 0
LT | FR | 0
LT | DK | 0
LT | PL | 58.0692
LT | CZ | 0
LT | SK | 0
LT | HU | 0
LT | RS | 0
LT | BG | 0
LT | GR | 0
LT | RO | 0
LT | LT | 0
LT | LV | 90
LT | ES | 0
LT | PT | 0
LT | UA | 0
LT | MD | 0
LT | RU | 0
LT | AL | 0
LT | LU | 0
LT | IE | 0
LT | BA | 0
LT | MK | 0
LT | TR | 0
LT | SM | 0
LT | NO | 0
LT | DZ | 0
LT | TN | 0
LT | LY | 0
LT | BY | 0
LT | EE | 0
LT | FI | 0
LV | UK | 0
LV | BE | 0
LV | NL | 0
LV | DE | 0
LV | AT | 0
LV | IT | 0
LV | CH | 0
LV | SI | 0
LV | HR | 0
LV | FR | 0
LV | DK | 0
LV | PL | 0
LV | CZ | 0
LV | SK | 0
LV | HU | 0
LV | RS | 0
LV | BG | 0
LV | GR | 0
LV | RO | 0
LV | LT | 82
LV | LV | 0
LV | ES | 0
LV | PT | 0
LV | UA | 0
LV | MD | 0
LV | RU | 0
LV | AL | 0
LV | LU | 0
LV | IE | 0
LV | BA | 0
LV | MK | 0
LV | TR | 0
LV | SM | 0
LV | NO | 0
LV | DZ | 0
LV | TN | 0
LV | LY | 0
LV | BY | 0
LV | EE | 0
LV | FI | 0
ES | UK | 0
ES | BE | 0
ES | NL | 0
ES | DE | 0
ES | AT | 0
ES | IT | 0
ES | CH | 0
ES | SI | 0
ES | HR | 0
ES | FR | 224.4
ES | DK | 0
ES | PL | 0
ES | CZ | 0
ES | SK | 0
ES | HU | 0
ES | RS | 0
ES | BG | 0
ES | GR | 0
ES | RO | 0
ES | LT | 0
ES | LV | 0
ES | ES | 0
ES | PT | 144
ES | UA | 0
ES | MD | 0
ES | RU | 0
ES | AL | 0
ES | LU | 0
ES | IE | 0
ES | BA | 0
ES | MK | 0
ES | TR | 0
ES | SM | 0
ES | NO | 0
ES | DZ | 0
ES | TN | 0
ES | LY | 0
ES | BY | 0
ES | EE | 0
ES | FI | 0
PT | UK | 0
PT | BE | 0
PT | NL | 0
PT | DE | 0
PT | AT | 0
PT | IT | 0
PT | CH | 0
PT | SI | 0
PT | HR | 0
PT | FR | 0
PT | DK | 0
PT | PL | 0
PT | CZ | 0
PT | SK | 0
PT | HU | 0
PT | RS | 0
PT | BG | 0
PT | GR | 0
PT | RO | 0
PT | LT | 0
PT | LV | 0
PT | ES | 80
PT | PT | 0
PT | UA | 0
PT | MD | 0
PT | RU | 0
PT | AL | 0
PT | LU | 0
PT | IE | 0
PT | BA | 0
PT | MK | 0
PT | TR | 0
PT | SM | 0
PT | NO | 0
PT | DZ | 0
PT | TN | 0
PT | LY | 0
PT | BY | 0
PT | EE | 0
PT | FI | 0
UA | UK | 0
UA | BE | 0
UA | NL | 0
UA | DE | 0
UA | AT | 0
UA | IT | 0
UA | CH | 0
UA | SI | 0
UA | HR | 0
UA | FR | 0
UA | DK | 0
UA | PL | 0
UA | CZ | 0
UA | SK | 249.6
UA | HU | 0
UA | RS | 0
UA | BG | 0
UA | GR | 0
UA | RO | 0
UA | LT | 0
UA | LV | 0
UA | ES | 0
UA | PT | 0
UA | UA | 0
UA | MD | 0
UA | RU | 0
UA | AL | 0
UA | LU | 0
UA | IE | 0
UA | BA | 0
UA | MK | 0
UA | TR | 0
UA | SM | 0
UA | NO | 0
UA | DZ | 0
UA | TN | 0
UA | LY | 0
UA | BY | 0
UA | EE | 0
UA | FI | 0
MD | UK | 0
MD | BE | 0
MD | NL | 0
MD | DE | 0
MD | AT | 0
MD | IT | 0
MD | CH | 0
MD | SI | 0
MD | HR | 0
MD | FR | 0
MD | DK | 0
MD | PL | 0
MD | CZ | 0
MD | SK | 0
MD | HU | 0
MD | RS | 0
MD | BG | 0
MD | GR | 0
MD | RO | 0
MD | LT | 0
MD | LV | 0
MD | ES | 0
MD | PT | 0
MD | UA | 0
MD | MD | 0
MD | RU | 0
MD | AL | 0
MD | LU | 0
MD | IE | 0
MD | BA | 0
MD | MK | 0
MD | TR | 0
MD | SM | 0
MD | NO | 0
MD | DZ | 0
MD | TN | 0
MD | LY | 0
MD | BY | 0
MD | EE | 0
MD | FI | 0
RU | UK | 0
RU | BE | 0
RU | NL | 0
RU | DE | 0
RU | AT | 0
RU | IT | 0
RU | CH | 0
RU | SI | 0
RU | HR | 0
RU | FR | 0
RU | DK | 0
RU | PL | 0
RU | CZ | 0
RU | SK | 0
RU | HU | 0
RU | RS | 0
RU | BG | 0
RU | GR | 0
RU | RO | 0
RU | LT | 0
RU | LV | 0
RU | ES | 0
RU | PT | 0
RU | UA | 0
RU | MD | 0
RU | RU | 0
RU | AL | 0
RU | LU | 0
RU | IE | 0
RU | BA | 0
RU | MK | 0
RU | TR | 0
RU | SM | 0
RU | NO | 0
RU | DZ | 0
RU | TN | 0
RU | LY | 0
RU | BY | 0
RU | EE | 0
RU | FI | 0
AL | UK | 0
AL | BE | 0
AL | NL | 0
AL | DE | 0
AL | AT | 0
AL | IT | 494.33
AL | CH | 0
AL | SI | 0
AL | HR | 0
AL | FR | 0
AL | DK | 0
AL | PL | 0
AL | CZ | 0
AL | SK | 0
AL | HU | 0
AL | RS | 0
AL | BG | 0
AL | GR | 0
AL | RO | 0
AL | LT | 0
AL | LV | 0
AL | ES | 0
AL | PT | 0
AL | UA | 0
AL | MD | 0
AL | RU | 0
AL | AL | 0
AL | LU | 0
AL | IE | 0
AL | BA | 0
AL | MK | 0
AL | TR | 0
AL | SM | 0
AL | NO | 0
AL | DZ | 0
AL | TN | 0
AL | LY | 0
AL | BY | 0
AL | EE | 0
AL | FI | 0
LU | UK | 0
LU | BE | 0
LU | NL | 0
LU | DE | 0
LU | AT | 0
LU | IT | 0
LU | CH | 0
LU | SI | 0
LU | HR | 0
LU | FR | 0
LU | DK | 0
LU | PL | 0
LU | CZ | 0
LU | SK | 0
LU | HU | 0
LU | RS | 0
LU | BG | 0
LU | GR | 0
LU | RO | 0
LU | LT | 0
LU | LV | 0
LU | ES | 0
LU | PT | 0
LU | UA | 0
LU | MD | 0
LU | RU | 0
LU | AL | 0
LU | LU | 0
LU | IE | 0
LU | BA | 0
LU | MK | 0
LU | TR | 0
LU | SM | 0
LU | NO | 0
LU | DZ | 0
LU | TN | 0
LU | LY | 0
LU | BY | 0
LU | EE | 0
LU | FI | 0
IE | UK | 0
IE | BE | 0
IE | NL | 0
IE | DE | 0
IE | AT | 0
IE | IT | 0
IE | CH | 0
IE | SI | 0
IE | HR | 0
IE | FR | 0
IE | DK | 0
IE | PL | 0
IE | CZ | 0
IE | SK | 0
IE | HU | 0
IE | RS | 0
IE | BG | 0
IE | GR | 0
IE | RO | 0
IE | LT | 0
IE | LV | 0
IE | ES | 0
IE | PT | 0
IE | UA | 0
IE | MD | 0
IE | RU | 0
IE | AL | 0
IE | LU | 0
IE | IE | 0
IE | BA | 0
IE | MK | 0
IE | TR | 0
IE | SM | 0
IE | NO | 0
IE | DZ | 0
IE | TN | 0
IE | LY | 0
IE | BY | 0
IE | EE | 0
IE | FI | 0
BA | UK | 0
BA | BE | 0
BA | NL | 0
BA | DE | 0
BA | AT | 0
BA | IT | 0
BA | CH | 0
BA | SI | 0
BA | HR | 0
BA | FR | 0
BA | DK | 0
BA | PL | 0
BA | CZ | 0
BA | SK | 0
BA | HU | 0
BA | RS | 0
BA | BG | 0
BA | GR | 0
BA | RO | 0
BA | LT | 0
BA | LV | 0
BA | ES | 0
BA | PT | 0
BA | UA | 0
BA | MD | 0
BA | RU | 0
BA | AL | 0
BA | LU | 0
BA | IE | 0
BA | BA | 0
BA | MK | 0
BA | TR | 0
BA | SM | 0
BA | NO | 0
BA | DZ | 0
BA | TN | 0
BA | LY | 0
BA | BY | 0
BA | EE | 0
BA | FI | 0
MK | UK | 0
MK | BE | 0
MK | NL | 0
MK | DE | 0
MK | AT | 0
MK | IT | 0
MK | CH | 0
MK | SI | 0
MK | HR | 0
MK | FR | 0
MK | DK | 0
MK | PL | 0
MK | CZ | 0
MK | SK | 0
MK | HU | 0
MK | RS | 0
MK | BG | 0
MK | GR | 0
MK | RO | 0
MK | LT | 0
MK | LV | 0
MK | ES | 0
MK | PT | 0
MK | UA | 0
MK | MD | 0
MK | RU | 0
MK | AL | 0
MK | LU | 0
MK | IE | 0
MK | BA | 0
MK | MK | 0
MK | TR | 0
MK | SM | 0
MK | NO | 0
MK | DZ | 0
MK | TN | 0
MK | LY | 0
MK | BY | 0
MK | EE | 0
MK | FI | 0
TR | UK | 0
TR | BE | 0
TR | NL | 0
TR | DE | 0
TR | AT | 0
TR | IT | 0
TR | CH | 0
TR | SI | 0
TR | HR | 0
TR | FR | 0
TR | DK | 0
TR | PL | 0
TR | CZ | 0
TR | SK | 0
TR | HU | 0
TR | RS | 0
TR | BG | 0
TR | GR | 0
TR | RO | 0
TR | LT | 0
TR | LV | 0
TR | ES | 0
TR | PT | 0
TR | UA | 0
TR | MD | 0
TR | RU | 0
TR | AL | 0
TR | LU | 0
TR | IE | 0
TR | BA | 0
TR | MK | 0
TR | TR | 0
TR | SM | 0
TR | NO | 0
TR | DZ | 0
TR | TN | 0
TR | LY | 0
TR | BY | 0
TR | EE | 0
TR | FI | 0
SM | UK | 0
SM | BE | 0
SM | NL | 0
SM | DE | 0
SM | AT | 0
SM | IT | 0
SM | CH | 0
SM | SI | 0
SM | HR | 0
SM | FR | 0
SM | DK | 0
SM | PL | 0
SM | CZ | 0
SM | SK | 0
SM | HU | 0
SM | RS | 0
SM | BG | 0
SM | GR | 0
SM | RO | 0
SM | LT | 0
SM | LV | 0
SM | ES | 0
SM | PT | 0
SM | UA | 0
SM | MD | 0
SM | RU | 0
SM | AL | 0
SM | LU | 0
SM | IE | 0
SM | BA | 0
SM | MK | 0
SM | TR | 0
SM | SM | 0
SM | NO | 0
SM | DZ | 0
SM | TN | 0
SM | LY | 0
SM | BY | 0
SM | EE | 0
SM | FI | 0
NO | UK | 1499.1
NO | BE | 488.4
NO | NL | 0
NO | DE | 2195.9271
NO | AT | 0
NO | IT | 0
NO | CH | 0
NO | SI | 0
NO | HR | 0
NO | FR | 575
NO | DK | 0
NO | PL | 0
NO | CZ | 0
NO | SK | 0
NO | HU | 0
NO | RS | 0
NO | BG | 0
NO | GR | 0
NO | RO | 0
NO | LT | 0
NO | LV | 0
NO | ES | 0
NO | PT | 0
NO | UA | 0
NO | MD | 0
NO | RU | 0
NO | AL | 0
NO | LU | 0
NO | IE | 0
NO | BA | 0
NO | MK | 0
NO | TR | 0
NO | SM | 0
NO | NO | 0
NO | DZ | 0
NO | TN | 0
NO | LY | 0
NO | BY | 0
NO | EE | 0
NO | FI | 0
DZ | UK | 0
DZ | BE | 0
DZ | NL | 0
DZ | DE | 0
DZ | AT | 0
DZ | IT | 1154.47
DZ | CH | 0
DZ | SI | 0
DZ | HR | 0
DZ | FR | 0
DZ | DK | 0
DZ | PL | 0
DZ | CZ | 0
DZ | SK | 0
DZ | HU | 0
DZ | RS | 0
DZ | BG | 0
DZ | GR | 0
DZ | RO | 0
DZ | LT | 0
DZ | LV | 0
DZ | ES | 337.12
DZ | PT | 0
DZ | UA | 0
DZ | MD | 0
DZ | RU | 0
DZ | AL | 0
DZ | LU | 0
DZ | IE | 0
DZ | BA | 0
DZ | MK | 0
DZ | TR | 0
DZ | SM | 0
DZ | NO | 0
DZ | DZ | 0
DZ | TN | 0
DZ | LY | 0
DZ | BY | 0
DZ | EE | 0
DZ | FI | 0
TN | UK | 0
TN | BE | 0
TN | NL | 0
TN | DE | 0
TN | AT | 0
TN | IT | 0
TN | CH | 0
TN | SI | 0
TN | HR | 0
TN | FR | 0
TN | DK | 0
TN | PL | 0
TN | CZ | 0
TN | SK | 0
TN | HU | 0
TN | RS | 0
TN | BG | 0
TN | GR | 0
TN | RO | 0
TN | LT | 0
TN | LV | 0
TN | ES | 0
TN | PT | 0
TN | UA | 0
TN | MD | 0
TN | RU | 0
TN | AL | 0
TN | LU | 0
TN | IE | 0
TN | BA | 0
TN | MK | 0
TN | TR | 0
TN | SM | 0
TN | NO | 0
TN | DZ | 0
TN | TN | 0
TN | LY | 0
TN | BY | 0
TN | EE | 0
TN | FI | 0
LY | UK | 0
LY | BE | 0
LY | NL | 0
LY | DE | 0
LY | AT | 0
LY | IT | 0
LY | CH | 0
LY | SI | 0
LY | HR | 0
LY | FR | 0
LY | DK | 0
LY | PL | 0
LY | CZ | 0
LY | SK | 0
LY | HU | 0
LY | RS | 0
LY | BG | 0
LY | GR | 0
LY | RO | 0
LY | LT | 0
LY | LV | 0
LY | ES | 0
LY | PT | 0
LY | UA | 0
LY | MD | 0
LY | RU | 0
LY | AL | 0
LY | LU | 0
LY | IE | 0
LY | BA | 0
LY | MK | 0
LY | TR | 0
LY | SM | 0
LY | NO | 0
LY | DZ | 0
LY | TN | 0
LY | LY | 0
LY | BY | 0
LY | EE | 0
LY | FI | 0
BY | UK | 0
BY | BE | 0
BY | NL | 0
BY | DE | 0
BY | AT | 0
BY | IT | 0
BY | CH | 0
BY | SI | 0
BY | HR | 0
BY | FR | 0
BY | DK | 0
BY | PL | 0
BY | CZ | 0
BY | SK | 0
BY | HU | 0
BY | RS | 0
BY | BG | 0
BY | GR | 0
BY | RO | 0
BY | LT | 0
BY | LV | 0
BY | ES | 0
BY | PT | 0
BY | UA | 0
BY | MD | 0
BY | RU | 0
BY | AL | 0
BY | LU | 0
BY | IE | 0
BY | BA | 0
BY | MK | 0
BY | TR | 0
BY | SM | 0
BY | NO | 0
BY | DZ | 0
BY | TN | 0
BY | LY | 0
BY | BY | 0
BY | EE | 0
BY | FI | 0
EE | UK | 0
EE | BE | 0
EE | NL | 0
EE | DE | 0
EE | AT | 0
EE | IT | 0
EE | CH | 0
EE | SI | 0
EE | HR | 0
EE | FR | 0
EE | DK | 0
EE | PL | 0
EE | CZ | 0
EE | SK | 0
EE | HU | 0
EE | RS | 0
EE | BG | 0
EE | GR | 0
EE | RO | 0
EE | LT | 0
EE | LV | 0
EE | ES | 0
EE | PT | 0
EE | UA | 0
EE | MD | 0
EE | RU | 0
EE | AL | 0
EE | LU | 0
EE | IE | 0
EE | BA | 0
EE | MK | 0
EE | TR | 0
EE | SM | 0
EE | NO | 0
EE | DZ | 0
EE | TN | 0
EE | LY | 0
EE | BY | 0
EE | EE | 0
EE | FI | 0
FI | UK | 0
FI | BE | 0
FI | NL | 0
FI | DE | 0
FI | AT | 0
FI | IT | 0
FI | CH | 0
FI | SI | 0
FI | HR | 0
FI | FR | 0
FI | DK | 0
FI | PL | 0
FI | CZ | 0
FI | SK | 0
FI | HU | 0
FI | RS | 0
FI | BG | 0
FI | GR | 0
FI | RO | 0
FI | LT | 0
FI | LV | 0
FI | ES | 0
FI | PT | 0
FI | UA | 0
FI | MD | 0
FI | RU | 0
FI | AL | 0
FI | LU | 0
FI | IE | 0
FI | BA | 0
FI | MK | 0
FI | TR | 0
FI | SM | 0
FI | NO | 0
FI | DZ | 0
FI | TN | 0
FI | LY | 0
FI | BY | 0
FI | EE | 78
FI | FI | 0