## Document map
Capacities for Transmission Capacity Map RTS008_NS - DWH.rdl
Cross-border IP within EU and with non-EU (export)
Zeebrugge IZT
Hilvarenbeek
Eynatten 1 (BE) // Lichtenbusch / Raeren (DE)
Remich
Blaregnies L (BE) / Taisnières B (FR)
Bocholtz
Zevenaar
Winterswijk
Vlieghuis
Epe (DE) (Eneco) / Enschede (NL)
Epe (DE) (Nuon) / Enschede (NL)
Epe (DE) / Enschede (NL)
Bunde (DE) / Oude Statenzijl (H) (NL) (GASCADE)
Bunde (DE) / Oude Statenzijl (H) (NL) I (OGE)
Bunde (DE) / Oude Statenzijl (L) (NL) (GUD)
Etzel (DE) (Crystal) / Oude Statenzijl (NL)
Etzel (DE) (EKB) / Oude Statenzijl Etzel (NL)
Etzel (DE) (OMV) Freya / Oude Statenzijl Etzel
Nüttermoor (DE) (EWE) H / Oude Statenzijl (H) (NL)
Nüttermoor H-1 (DE) (EWE) Renato / Oude Statenzijl (NL)
Bacton (IUK)
Moffat
Oberkappel
Obergailbach (FR) / Medelsheim (DE)
Überackern ABG (AT) / Überackern (DE)
Überackern SUDAL (AT) / Überackern 2 (DE)
Kiefersfelden-Kufstein
Murfeld (AT) / Ceršak (SI)
Tarvisio (IT) / Arnoldstein (AT)
Griespass (CH) / Passo Gries (IT)
Wallbach
Gorizia (IT) /Šempeter (SI)
Rogatec
Oltingue (FR) / Rodersdorf (CH)
Ellund
Mallnow
Brandov STEGAL (CZ) / Stegal (DE)
Olbernhau (DE) / Hora Svaté Kateřiny (CZ)
Hora Svaté Kateřiny (CZ) / Deutschneudorf (Sayda) (DE)
Brandov-OPAL (DE)
Waidhaus
Cieszyn (PL) / Český Těšín (CZ)
Lanžhot
Baumgarten
Mosonmagyarovar
Kiskundorozsma (HU>RS)
Zvornik
Kyustendil (BG) / Zidilovo (MK)
Kulata (BG) / Sidirokastron (GR)
Strandzha (BG) / Malkoclar (TR)
Negru Voda I (RO) / Kardam (BG)
Negru Voda II, III (RO) / Kardam (BG)
Kiemenai
Sakiai
Csanadpalota
Dravaszerdahely
Dolni Bojanovice
Láb (SK) / Láb IV (AT)
Haiming 2 7F
Haiming 2-RAGES/bn
Haidach (AT) / Haidach USP (DE)
Bizzarone
VIP IBERICO
VIP Kiefersfelden-Pfronten
Budince
Ungheni
Jemgum (DE) (astora) / Oude Statenzijl (NL)
Jemgum (DE) (EWE) / Oude Statenzijl (NL)
Balassagyarmat (HU) / Velké Zlievce (SK)
VIP PIRINEOS
RC Basel
RC Lindau
RC Thayngen-Fallentor
Luhamaa
GCP GAZ-SYSTEM/ONTRAS
Ruse (BG) / Giurgiu (RO)
VIP Brandov-GASPOOL
VIRTUALYS
Deutschneudorf EUGAL Brandov
VIP-BENE
VIP Belgium - NCG
Melendugno - IT / TAP
Rep. San Marino
Intra-Balancing Zone Point
Nybro
Kienbaum
Broichweiden Süd
Lampertheim IV
Bunder-Tief
Emsbüren-Berge
Steinitz
Wardenburg RG
Gernsheim
Point of Interconnection (PWP) (PL)
Zone GASCADE / OGE
Transfer Point NGTN <-> GTNTT
VIP L GASPOOL-NCG
GDLux (BE) / Bras Petange (LU)
Drohne NOWAL
Cross-border IP with non-EU (import)
St. Fergus
Dornum (EPT1 & EPT2)
Emden (EPT1)
Emden (NPT)
Zeebrugge ZPT
Dunkerque
Easington
Tarifa
Almería
Mazara del Vallo
Gela
Imatra
Kotlovka
Tieterowka
Kondratki
Wysokoje
Uzhgorod (UA) - Velké Kapušany (SK)
Isaccea (RO) - Orlovka (UA) I
Isaccea (RO) - Orlovka (UA) II
Isaccea (RO) - Orlovka (UA) III
Kipi (TR) / Kipi (GR)
Värska
Greifswald
Narva
VIP Mediesu Aurit - Isaccea (RO-UA)
Dornum GASPOOL
Lubmin II
LNG Entry point
Zeebrugge LNG
Isle of Grain
Milford Haven
Montoir de Bretagne
Fos (Tonkin/Cavaou)
Panigaglia
Cavarzere (Porto Levante / Adriatic LNG)
Agia Triada
Barcelona
Sagunto
Cartagena
Huelva
Mugardos
Bilbao
Sines
Gate Terminal (I)
OLT LNG / Livorno
Klaipeda (LNG)
Dunkerque LNG
Swinoujscie

## Capacity Map
|  |  | Transmission Capacity Map 2021 | [5 empty] | Generated by PDWS
Legend
Virtual points are indicated with a "V" mention. By default the map displays interconnections only when firm technical capacity is existing.
Number |  | Point |  |  | Arc | Technical physical capacity (GWh/d) | From Identifier | From Operator |  | From CC | From BZ | To Identifier |  | To Operator | To CC | To BZ | Available Flow Directions |  | Min GCV | Max GCV
Cross-border IP within EU and with non-EU (export)
1 |  | Zeebrugge IZT |  |  | >IB-BEhz | 651.7 | 21Z0000000000074 | Interconnector |  | UK | IUK | 21Z0000000000074 |  | Fluxys Belgium | BE | BeLux | B | B | 11.5 | 11.63
[5 empty] | IB-BEhz> | 803.4 | 21Z0000000000074 | Fluxys Belgium |  | BE | BeLux | 21Z0000000000074 |  | Interconnector | UK | IUK | B | B | 11.5 | 11.63
4 |  | Hilvarenbeek |  |  | NL>BEl | 595.6 | 21Z000000000243T | GTS |  | NL | Netherlands | 21Z000000000243T |  | Fluxys Belgium | BE | L-Zone | Y | Y | 9.77 | 9.77
6 |  | Eynatten 1 (BE) // Lichtenbusch / Raeren (DE) |  |  | >IB-BEhe | 127.8 | 21Z0000000000155 | GASCADE Gastransport |  | DE | GASPOOL | 21Z0000000000155 |  | Fluxys Belgium | BE | BeLux | B | B | 11.63 | 11.63
[5 empty] | IB-BEhe> | 129.5 | 21Z0000000000155 | Fluxys Belgium |  | BE | BeLux | 21Z0000000000155 |  | GASCADE Gastransport | DE | GASPOOL | B | B | 11.63 | 11.63
8 |  | Remich |  |  | DEn>LU | 26.71 | 21Z0000000000406 | Open Grid Europe |  | DE | NCG | 21Z0000000000406 |  | Creos Luxembourg | LU | BeLux | Y | N | 10.715 | 11.469
10 |  | Blaregnies L (BE) / Taisnières B (FR) |  |  | BEl>FRnL | 230 | 21Z000000000011D | Fluxys Belgium |  | BE | L-Zone | 21Z000000000011D |  | GRTgaz | FR | TRF | Y | N | 9.77 | 10.3
11 |  | Bocholtz |  |  | IB-NLn> | 16.665 | [5 empty] | 21Z000000000071W |  | Open Grid Europe | DE | NCG |  | Y | 11.245 | 11.702
[6 empty] | 14.2 | [7 empty] | Fluxys TENP | DE | NCG
12 |  | Zevenaar |  |  | IB-NLn> | 150.24 | [5 empty] | 21Y0000000001367 |  | Open Grid Europe | DE | NCG |  | Y | 9.914 | 10.419
[14 empty] | Thyssengas | De | NCG |  | Y
13 |  | Winterswijk |  |  | IB-NLn> | 140.016 | [5 empty] | 21Z000000000073S |  | Open Grid Europe | DE | NCG |  | Y | 9.994 | 10.418
14 |  | Vlieghuis |  |  | IB-NLg> | 100.8 | 21Z000000000135W | GTS |  | NL | Netherlands |  |  | RWE |  |  | Y
15 |  | Epe (DE) (Eneco) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | >IB-NLu | 93.6 |  | Eneco Gasspeicher B.V |  | DE | Germany | 21W000000000012G |  | GTS | NL | Netherlands |  | B
[5 empty] | IB-NLu> | 46.8 | 21W000000000012G | GTS |  | NL | Netherlands |  |  | Eneco Gasspeicher B.V | DE | Germany | B
|  | Epe (DE) (Nuon) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 70.3 | 21Z000000000109X | GTS |  | NL | Netherlands |  |  | Nuon Epe Gasspeicher | DE | Germany | B
[5 empty] | IB-STcDEmLmL> | 117.2 |  | Nuon Epe Gasspeicher |  | DE | Germany | 21Z000000000109X |  | GTS | NL | Netherlands |  | B
|  | Epe (DE) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | >IB-NLu | 103.5 |  | Innogy |  | DE | Germany | 21Z000000000108Z |  | GTS | NL | Netherlands |  | B
[5 empty] | IB-NLu> | 47.73 | 21Z000000000108Z | GTS |  | NL | Netherlands |  |  | Innogy | DE | Germany | B
16 |  | Bunde (DE) / Oude Statenzijl (H) (NL) (GASCADE) GTS entries at Emden EPT and Bunde/OSZ (OGE, GUD-H, GASCADE) are limited by a cluster capacity of 1.847,1 GWh/d, GTS exits at Bunde/OSZ (OGE, GUD-H, GASCADE) are limited to 504,0 GWh/d. |  |  | >IB-NLg | 190.7 | 21Z000000000074Q | GASCADE Gastransport |  | DE | GASPOOL | [5 empty] | B
[5 empty] | IB-NLg> | 0 | [5 empty] | 21Z000000000074Q |  | GASCADE Gastransport | DE | GASPOOL |  | B
|  | Bunde (DE) / Oude Statenzijl (H) (NL) I (OGE) GTS entries at Emden EPT and Bunde/OSZ (OGE, GUD-H, GASCADE) are limited by a cluster capacity of 1.847,1 GWh/d, GTS exits at Bunde/OSZ (OGE, GUD-H, GASCADE) are limited to 504,0 GWh/d. |  |  | IB-NLn> | 71.5 | [5 empty] | 21Z000000000075O |  | Open Grid Europe | DE | NCG |  | B | 11.199 | 11.624
|  | Bunde (DE) / Oude Statenzijl (L) (NL) (GUD) |  |  | IB-NLg> | 9.6 | [5 empty] | 21Z000000000078I |  | Gasunie Deutschland | DE | GASPOOL |  | N
|  | Etzel (DE) (Crystal) / Oude Statenzijl (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 56.4 | 21W000000000013E | GTS |  | NL | Netherlands |  |  | Crystal | DE |  | B
[5 empty] | IB-STcDEmm> | 76.5 |  | Crystal |  | DE |  | 21W000000000013E |  | GTS | NL | Netherlands |  | B
|  | Etzel (DE) (EKB) / Oude Statenzijl Etzel (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 74.9 | 21W0000000000095 | GTS |  | NL | Netherlands |  |  | EKB | DE |  | B
[5 empty] | IB-STcDEmm> | 115.3 |  | EKB |  | DE |  | 21W0000000000095 |  | GTS | NL | Netherlands |  | B
|  | Etzel (DE) (OMV) Freya / Oude Statenzijl Etzel Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 80.9 | 21W000000000014C | GTS |  | NL | Netherlands |  |  | OMV | DE |  | B
[5 empty] | IB-STcDEmm> | 95.2 |  | OMV |  |  |  | 21W000000000014C |  | GTS | NL | Netherlands |  | B
|  | Nüttermoor (DE) (EWE) H / Oude Statenzijl (H) (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | IB-NLu> | 59 | 21Z000000000250W | GTS |  | NL | Netherlands |  |  | EWE Gasspeicher | DE |  | B
[5 empty] | IB-STcDEmm> | 55 |  | EWE Gasspeicher |  | DE |  | 21Z000000000250W |  | GTS | NL | Netherlands |  | B
|  | Nüttermoor H-1 (DE) (EWE) Renato / Oude Statenzijl (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | >IB-NLu | 69.6 |  | EWE Gasspeicher |  | DE |  | 21Z000000000077K |  | GTS | NL | Netherlands |  | B
[5 empty] | IB-NLu> | 48.72 | 21Z000000000077K | GTS |  | NL | Netherlands |  |  | EWE Gasspeicher | DE |  | B
18 |  | Bacton (IUK) |  |  | >IB-UKb | 651.7 |  | National Grid Gas |  | UK |  | 21Z000000000084N |  | Interconnector | UK | IUK |  | B | 11.5 | 11.5
[5 empty] | IB-UKb> | 803.4 | 21Z000000000084N | Interconnector |  | UK | IUK |  |  | National Grid Gas | UK |  | B |  | 11.5 | 11.5
19 |  | Moffat |  |  | Y-UKm> | 386.9 | 21Z000000000081T | National Grid Gas |  | UK | UK | 21Z000000000081T |  | GNI | IE | Ireland | Y | Y
[14 empty] | Premier Transmission | UK | NI | Y | Y
21 |  | Oberkappel |  |  | >Y-DEno | 159.92 | 21Z000000000001G | Gas Connect Austria |  | AT | Austria | 21Z000000000001G |  | Open Grid Europe | DE | NCG | B | B | 11.036 | 11.485
[12 empty] | 21Z000000000161V |  | GRTgaz Deutschland | DE | NCG | B | B | 11.2 | 11.2
[5 empty] | Y-DEno> | 199.4 | 21Z000000000001G | Open Grid Europe |  | DE | NCG | 21Z000000000001G |  | Gas Connect Austria | AT | Austria | B | B | 11.036 | 11.485
[7 empty] | 21Z000000000161V | GRTgaz Deutschland |  | DE | NCG | 21Z000000000001G |  | Gas Connect Austria | AT | Austria | B | B | 11.2 | 11.2
22 |  | Obergailbach (FR) / Medelsheim (DE) |  |  | Y-DEnm> | 613.716 | 21Z000000000039S | Open Grid Europe |  | DE | NCG | 21Z000000000039S |  | GRTgaz | FR | TRF | Y | Y | 11.24 | 11.547
[7 empty] | 21Z0000000001208 | GRTgaz Deutschland |  | DE | NCG | 21Z000000000039S |  | GRTgaz | FR | TRF | Y | Y | 11.2 | 11.3
23 |  | Überackern ABG (AT) / Überackern (DE) |  |  | AT>DEn | 0 | 21Z000000000002E | Gas Connect Austria |  | AT | Austria | 21Z000000000002E |  | bayernets | DE | NCG | B | Y | 11.25 | 11.25
[14 empty] | Open Grid Europe | DE | NCG | B | B | 11.258 | 11.493
[5 empty] | DEn>AT | 0 | 21Z000000000002E | bayernets |  | DE | NCG | 21Z000000000002E |  | Gas Connect Austria | AT | Austria | Y | B | 11.25 | 11.25
[8 empty] | Open Grid Europe |  | DE | NCG | 21Z000000000002E |  | Gas Connect Austria | AT | Austria | B | B | 11.258 | 11.493
|  | Überackern SUDAL (AT) / Überackern 2 (DE) |  |  | AT>DEn | 174.6 | 21Z0000000001240 | Gas Connect Austria |  | AT | Austria | 21Z0000000001240 |  | bayernets | DE | NCG | B | B | 11.24 | 11.24
[5 empty] | DEn>AT | 114 | 21Z0000000001240 | bayernets |  | DE | NCG | 21Z0000000001240 |  | Gas Connect Austria | AT | Austria | B | B | 11.24 | 11.24
24 |  | Kiefersfelden-Kufstein |  |  | DEn>AT | 0 | 21Z000000000038U | Open Grid Europe |  | DE | NCG |  |  | Tigas | AT |  | Y |  | 11.256 | 11.383
25 |  | Murfeld (AT) / Ceršak (SI) |  |  | AT>SI | 112.5 | 21Z0000000000058 | Gas Connect Austria |  | AT | Austria | 21Z0000000000058 |  | Plinovodi | SI | Slovenia | Y | Y | 11.34 | 11.34
26 |  | Tarvisio (IT) / Arnoldstein (AT) |  |  | >IB-ITe | 1150 | 21Z000000000004A | TAG |  | AT | Austria | 21Z000000000004A |  | Snam Rete Gas | IT | Italy | B | B | 11.34 | 11.34
[5 empty] | IB-ITe> | 193.5 | 21Z000000000004A | Snam Rete Gas |  | IT | Italy | 21Z000000000004A |  | TAG | AT | Austria | B | B | 11.34 | 11.34
27 |  | Griespass (CH) / Passo Gries (IT) |  |  | >IB-ITe | 640.4 |  | FluxSwiss |  | CH | Switzerland | 21Z0000000002107 |  | Snam Rete Gas | IT | Italy | B | B | 11.45 | 11.45
[8 empty] | Swissgas |  | CH | Switzerland | 21Z0000000002107 |  | Snam Rete Gas | IT | Italy | B | B | 11.45 | 11.45
[5 empty] | IB-ITe> | 431.4 | 21Z0000000002107 | Snam Rete Gas |  | IT | Italy |  |  | FluxSwiss | CH | Switzerland | B | B | 11.38 | 11.38
[14 empty] | Swissgas | CH | Switzerland | B | B | 11.38 | 11.38
28 |  | Wallbach |  |  | CH>DEn | 172.8 |  | FluxSwiss |  | CH | Switzerland | 21Z0000000001216 |  | Fluxys TENP | DE | NCG | B | B | 11.38 | 11.56
[8 empty] | FluxSwiss |  | CH | Switzerland |  | 21Z0000000001232 | Open Grid Europe | DE | NCG | B | Y
[5 empty] | DEn>CH | 319.2 | 21Z0000000001216 | Fluxys TENP |  | DE | NCG |  |  | FluxSwiss | CH | Switzerland | B | B | 11.38 | 11.56
[14 empty] | Swissgas | CH | Switzerland | B | B | 11.38 | 11.56
[7 empty] | 21Z0000000001232 | Open Grid Europe |  | DE | NCG |  |  | FluxSwiss | CH | Switzerland | Y | B | 11.256 | 11.611
[14 empty] | Swissgas | CH | Switzerland | Y | B | 11.256 | 11.611
29 |  | Gorizia (IT) /Šempeter (SI) |  |  | IT>SI | 28.5 | 21Z000000000044Z | Snam Rete Gas |  | IT | Italy | 21Z000000000044Z |  | Plinovodi | SI | Slovenia | B | B | 11.31 | 11.31
[5 empty] | SI>IT | 21.5 | 21Z000000000044Z | Plinovodi |  | SI | Slovenia | 21Z000000000044Z |  | Snam Rete Gas | IT | Italy | B | B | 11.33 | 11.31
30 |  | Rogatec |  |  | HR>SI | 7.7 |  | Plinacro Ltd |  | HR | Croatia | 21Z000000000128T |  | Plinovodi | SI | Slovenia | B | B | 11.33 | 11.33
[5 empty] | SI>HR | 53.7 | 21Z000000000128T | Plinovodi |  | SI | Slovenia | 21Z000000000128T |  | Plinacro Ltd | HR | Croatia | B | B | 11.33 | 11.33
31 |  | Oltingue (FR) / Rodersdorf (CH) |  |  | >IB-FR1 | 100 |  | FluxSwiss |  | CH | Switzerland | 21Z000000000037W |  | GRTgaz | FR | TRF | B | B
[8 empty] | Swissgas |  | CH | Switzerland | 21Z000000000037W |  | GRTgaz | FR | TRF | B | B | 11.39 | 11.39
[5 empty] | IB-FR1> | 223 | 21Z000000000037W | GRTgaz |  | FR | TRF |  |  | FluxSwiss | CH | Switzerland | B | B | 11.46 | 11.46
[14 empty] | Swissgas | CH | Switzerland | B | B | 11.39 | 11.39
36 |  | Ellund |  |  | >Y-DKe | 136.112 | 21Z0000000000260 | Open Grid Europe |  | DE | NCG | 21Z0000000000260 |  | Energinet | DK | Joint Bal Zone DK/SE | B | - | 11.2 | 11.452
[7 empty] | 21Z000000000144V | Gasunie Deutschland |  | DE | GASPOOL | 21Z0000000000260 |  | Energinet | DK | Joint Bal Zone DK/SE | N | - | 11.2 | 11.2
[5 empty] | Y-DKe> | 4.119 | 21Z0000000000260 | Energinet |  | DK | Joint Bal Zone DK/SE | 21Z0000000000260 |  | Open Grid Europe | DE | NCG | - | B | 11.243 | 12.1
[12 empty] | 21Z000000000144V |  | Gasunie Deutschland | DE | GASPOOL | - | N | 12.1 | 12.1
38 |  | Mallnow |  |  | DEg>PL/YAM | 184.8 | 21Z000000000056S | GASCADE Gastransport |  | DE | GASPOOL | 21Z000000000056S |  | GAZ-SYSTEM (ISO) | PL | TGPS (YAMAL) | B | B | 11.26 | 11.37
[5 empty] | PL/YAM>DEg | 931.5 | 21Z000000000056S | GAZ-SYSTEM (ISO) |  | PL | TGPS (YAMAL) | 21Z000000000056S |  | GASCADE Gastransport | DE | GASPOOL | B | B | 11.26 | 11.37
40 |  | Brandov STEGAL (CZ) / Stegal (DE) Presented capacity at this point does not reflect current situation between DE GASPOOL and CZ market zones. NET4GAS offers free capacity between these market zones only at VIP Brandov-GASPOOL.
[5 empty] | Y-CZb> | 0 |  | NET4GAS |  | CZ |  | 21Z000000000091Q |  | GASCADE Gastransport | DE | GASPOOL |  | N
|  | Olbernhau (DE) / Hora Svaté Kateřiny (CZ) Presented capacity at this point does not reflect current situation between DE GASPOOL and CZ market zones. NET4GAS offers free capacity between these market zones only at VIP Brandov-GASPOOL. |  |  | >Y-CZb | 287.7 | 21Z000000000092O | GASCADE Gastransport |  | DE | GASPOOL |  |  | NET4GAS | CZ |  | N
41 |  | Hora Svaté Kateřiny (CZ) / Deutschneudorf (Sayda) (DE) Presented capacity at this point does not reflect current situation between DE GASPOOL and CZ market zones. NET4GAS offers free capacity between these market zones only at VIP Brandov-GASPOOL. |  |  | >Y-CZb | 95.04 | 21Z0000000000228 | ONTRAS |  | DE | GASPOOL |  |  | NET4GAS | CZ |  | B |  | 11.22 | 11.23
[5 empty] | Y-CZb> | 0 |  | NET4GAS |  | CZ |  | 21Z0000000000228 |  | ONTRAS | DE | GASPOOL |  | B | 11.22 | 11.23
42 |  | Brandov-OPAL (DE) |  |  | >Y-CZb | 571.12 | 21Z000000000242V | LBTG |  | DE |  |  |  | NET4GAS | CZ |  | Y
[8 empty] | OPAL Gas Transport |  | DE |  |  |  | NET4GAS | CZ
43 |  | Waidhaus No firm capacity is offered to exit from DE side, on CZ side an entry capacity of 120 GWh/d is available. Since 03/2019 VIP Waidhaus is in operation.
[5 empty] | IB-CZw> | 896.659 | 21Z0000000000236 | NET4GAS |  | CZ | Czech | 21Z0000000000236 |  | Open Grid Europe | DE | NCG | Y | Y | 11.19 | 11.316
[12 empty] | 21Z000000000162T |  | GRTgaz Deutschland | DE | NCG | Y | Y | 11.19 | 11.23
44 |  | Cieszyn (PL) / Český Těšín (CZ) CZ>PL: 4,3 GWh/d from May to September |  |  | CZ>PL | 28 | 21Z000000000239K | NET4GAS |  | CZ | Czech | 21Z000000000239K |  | GAZ-SYSTEM | PL | Poland H-gas | N | Y | 11.22 | 11.31
45 |  | Lanžhot |  |  | CZ>SK | 1246.4 | 21Z000000000061Z | NET4GAS |  | CZ | Czech | 21Z000000000061Z |  | eustream | SK | Slovakia | B | B | 11.16 | 11.23
[5 empty] | SK>CZ | 457.6 | 21Z000000000061Z | eustream |  | SK | Slovakia | 21Z000000000061Z |  | NET4GAS | CZ | Czech | B | B | 11.16 | 11.23
46 |  | Baumgarten |  |  | AT>SK | 246.5 |  | Gas Connect Austria |  | AT | Austria | 21Y---A001A023-Y |  | eustream | SK | Slovakia | N | B | 11.16 | 11.16
[7 empty] | 21Z000000000163R | Gas Connect Austria |  | AT | Austria | 21Y---A001A023-Y |  | eustream | SK | Slovakia | B | B | 11.16 | 11.16
[7 empty] | 21Z000000000164P | TAG |  | AT | Austria | 21Y---A001A023-Y |  | eustream | SK | Slovakia | Y | B | 11.16 | 11.19
[7 empty] | 21Z000000000175K | Gas Connect Austria |  | AT | Austria | 21Y---A001A023-Y |  | eustream | SK | Slovakia | N | B | 11.16 | 11.16
[5 empty] | SK>AT | 1570.4 | 21Y---A001A023-Y | eustream |  | SK | Slovakia | 21Z0000000000600 |  | Gas Connect Austria | AT | Austria | B | Y | 11.16 | 11.16
[12 empty] | 21Z000000000163R |  | Gas Connect Austria | AT | Austria | B | B | 11.16 | 11.16
[12 empty] | 21Z000000000164P |  | TAG | AT | Austria | B | N | 11.16 | 11.19
47 |  | Mosonmagyarovar |  |  | AT>HU | 153.1 | 21Z000000000003C | Gas Connect Austria |  | AT | Austria | 21Z000000000003C |  | FGSZ | HU | Hungary | Y | Y | 11.25 | 11.42
48 |  | Kiskundorozsma (HU>RS) |  |  | HU>RS | 142 | 21Z000000000154S | FGSZ |  | HU | Hungary |  |  | Srbijagas | RS |  | N | N | 11.35 | 11.46
49 |  | Zvornik |  |  | RS>BA | 17.98 |  | Srbijagas |  | RS |  |  |  | BH Gas | BA |  | - | -
50 |  | Kyustendil (BG) / Zidilovo (MK) |  |  | BGg/BGT>MK | 27.38 | 21Z000000000137S | Bulgartransgaz |  | BG | GTNTT-BG |  |  | GA-MA - Skopje | MK |  | N | N | 11.25 | 11.25
51 |  | Kulata (BG) / Sidirokastron (GR) |  |  | BGg/BGT>GR | 117.8 | 21Z000000000020C | Bulgartransgaz |  | BG | GTNTT-BG | 21Z000000000020C |  | DESFA | GR | Greece | B | B | 11.3 | 11.37
[5 empty] | GR>BGg/BGT | 64.82 | 21Z000000000020C | DESFA |  | GR | Greece | 21Z000000000020C |  | Bulgartransgaz | BG | GTNTT-BG | B | B | 11.3 | 11.37
52 |  | Strandzha (BG) / Malkoclar (TR) |  |  | BGg/BGT>TRe | 497.16 | 21Z000000000157M | Bulgartransgaz |  | BG | GTNTT-BG |  |  | Botas | TR |  | N |  | 11.25 | 11.25
53 |  | Negru Voda I (RO) / Kardam (BG) No data is published by the Romanian TSO in the BG>RO direction |  |  | BGn>RO | 121.66 | 21Z000000000159I | Bulgartransgaz |  | BG | NGTN-BG | 21Z000000000159I |  | Transgaz | RO | RO_NTS | B | B | 11.3 | 11.36
[5 empty] | RO/TBP>BGn | 187.6 | 21Z000000000159I | Transgaz |  | RO | RO_NTS | 21Z000000000159I |  | Bulgartransgaz | BG | NGTN-BG | B | B | 11.3 | 11.35
|  | Negru Voda II, III (RO) / Kardam (BG) On BG side there is only one physical point - Negru Voda 2, 3 (RO) /Kardam (BG). On RO site, there are two separate points - Negru Voda II and Negru Voda III. No data is published by the Romanian TSO in the BG>RO direction. |  |  | BGg/BGT>RO/TBP | 0 | 21Z000000000160X | Bulgartransgaz |  | BG | GTNTT-BG | 21Z0000000003022 |  | Transgaz | RO | RO_DTS | N | N | 11.3 | 11.3
[12 empty] | 21Z0000000003030 |  | Transgaz | RO | RO_DTS | N | N | 11.3 | 11.3
[5 empty] | RO/TBP>BGg/BGT | 591.2 | 21Z0000000003022 | Transgaz |  | RO | RO_DTS | 21Z000000000160X |  | Bulgartransgaz | BG | GTNTT-BG | N | N | 11.3 | 11.34
[7 empty] | 21Z0000000003030 | Transgaz |  | RO | RO_DTS | 21Z000000000160X |  | Bulgartransgaz | BG | GTNTT-BG | N | N | 11.3 | 11.33
55 |  | Kiemenai |  |  | LT>LV | 67.6 | 21Z000000000153U | Amber Grid |  | LT | Lithuania | 21Z000000000153U |  | Conexus | LV | Joint Bal Zone EE/LV | B | B | 11.26 | 11.85
[5 empty] | LV>LT | 65.1 | 21Z000000000153U | Conexus |  | LV | Joint Bal Zone EE/LV | 21Z000000000153U |  | Amber Grid | LT | Lithuania | B | B | 11.25 | 11.81
56 |  | Sakiai |  |  | LT>RUk | 114.2 | 21Z0000000001305 | Amber Grid |  | LT | Lithuania |  |  | Gasprom | RU |  | N |  | 11.22 | 11.59
57 |  | Csanadpalota |  |  | HU>RO | 77.5 | 21Z000000000236Q | FGSZ |  | HU | Hungary | 21Z000000000236Q |  | Transgaz | RO | RO_NTS | B | B | 11.35 | 11.44
[5 empty] | RO>HU | 50.3 | 21Z000000000236Q | Transgaz |  | RO | RO_NTS | 21Z000000000236Q |  | FGSZ | HU | Hungary | B | B | 11.05 | 11.29
58 |  | Dravaszerdahely |  |  | HR>HU | 48.57 |  | Plinacro Ltd |  | HR | Croatia | 21Z000000000249H |  | FGSZ | HU | Hungary | B | B | 10.67 | 11.37
[5 empty] | HU>HR | 77.4 | 21Z000000000249H | FGSZ |  | HU | Hungary | 21Z000000000249H |  | Plinacro Ltd | HR | Croatia | B | B | 11.35 | 11.46
59 |  | Dolni Bojanovice Capacity is offered with the aggregated capacity of the IP Lanžhot |  |  | >Y-STcCZdd | 74.34 |  | eustream |  | SK | Slovakia |  |  | SPP Storage |  |  | -
[5 empty] | Y-STcCZdd> | 95.58 |  | SPP Storage | [5 empty] | eustream | SK | Slovakia |  | -
60 |  | Láb (SK) / Láb IV (AT) |  |  | >IB-STcSKmm | 138.3 |  | Gas Connect Austria |  | AT | Austria |  |  | NAFTA |  |  | B
POZAGAS
[5 empty] | IB-STcSKmm> | 138.3 |  | NAFTA | [5 empty] | Gas Connect Austria | AT | Austria |  | B
[8 empty] | POZAGAS | [5 empty] | Gas Connect Austria | AT | Austria |  | B
61 |  | Haiming 2 7F |  |  | >IB-STcATmm | 150.464 | 21Z000000000272M | bayernets |  | DE | NCG |  |  | Uniper Energy Storage | DE |  | B |  | 11.21 | 11.21
[8 empty] | Open Grid Europe |  | DE | NCG |  |  | Uniper Energy Storage | DE |  | B |  | 11.17 | 11.6
[5 empty] | IB-STcATmm> | 234.696 |  | Uniper Energy Storage |  | DE |  | 21Z000000000272M |  | bayernets | DE | NCG |  | B | 11.21 | 11.21
[14 empty] | Open Grid Europe | DE | NCG |  | B | 11.17 | 11.6
|  | Haiming 2-RAGES/bn |  |  | DEn>STcATn | 5.448 | 21Z000000000445H | bayernets |  | DE | NCG |  |  | RAG | AT |  | B |  | 11.21 | 11.21
[5 empty] | STcATn>DEn | 5.448 |  | RAG |  | AT |  | 21Z000000000445H |  | bayernets | DE | NCG |  | B | 11.21 | 11.21
62 |  | Haidach (AT) / Haidach USP (DE) |  |  | DEn>STcATn | 283.84 | 21Z000000000125Z | bayernets |  | DE | NCG |  |  | Astora | DE |  | B |  | 11.23 | 11.23
[14 empty] | Gazprom Export LLC | DE
[5 empty] | STcATn>DEn | 313.5656 |  | Astora |  | DE
[8 empty] | Gazprom Export LLC |  | DE |  | 21Z000000000125Z |  | bayernets | DE | NCG |  | B | 11.23 | 11.23
66 |  | Bizzarone |  |  | IT>CH | 13 | 21Z000000000277C | Snam Rete Gas |  | IT | Italy | [5 empty] | N |  | 11.42 | 11.42
67 | V | VIP IBERICO |  |  | ES>PT | 144 | 21Z000000000282J | Enagas |  | ES | Spain | 21Z000000000282J |  | REN - Gasodutos | PT | Portugal | B | B | 11.8 | 11.9
[5 empty] | PT>ES | 80 | 21Z000000000282J | REN - Gasodutos |  | PT | Portugal | 21Z000000000282J |  | Enagas | ES | Spain | B | B | 11.8 | 11.9
69 | V | VIP Kiefersfelden-Pfronten |  |  | DEn>AT | 26.1 | 21Z0000000002895 | bayernets |  | DE | NCG |  |  | Tigas, EWR |  |  | N |  | 11.2 | 11.2
71 |  | Budince |  |  | SK>UAe | 416 | 21Z000000000357E | eustream |  | SK | Slovakia |  |  | PJSC UKRTRANSGAZ | UA | Ukraine | B |  | 11.16 | 11.16
[5 empty] | UA>SK | 249.6 |  | PJSC UKRTRANSGAZ |  | UA | Ukraine | 21Z000000000357E |  | eustream | SK | Slovakia |  | B | 11.16 | 11.16
72 |  | Ungheni |  |  | MD>RO | 2.2 |  | Vestmoldtransgaz |  | MD |  | 21Z000000000356G |  | Transgaz | RO | RO_NTS |  | B | 11.41 | 11.41
[5 empty] | RO>MD | 16.1 | 21Z000000000356G | Transgaz |  | RO | RO_NTS |  |  | Vestmoldtransgaz | MD |  | B |  | 11.29 | 11.29
74 |  | Jemgum (DE) (astora) / Oude Statenzijl (NL) |  |  | IB-NLu> | 128 | 21Z000000000351Q | GTS |  | NL | Netherlands |  |  | Astora | DE |  | B
[5 empty] | IB-STcDEmm> | 202 |  | Astora |  | DE |  | 21Z000000000351Q |  | GTS | NL | Netherlands |  | B
|  | Jemgum (DE) (EWE) / Oude Statenzijl (NL) |  |  | IB-NLu> | 128 | 21W000000000021F | GTS |  | NL | Netherlands |  |  | EWE Gasspeicher | DE |  | B
[5 empty] | IB-STcDEmm> | 202 |  | EWE Gasspeicher |  | DE |  | 21W000000000021F |  | GTS | NL | Netherlands |  | B
75 |  | Balassagyarmat (HU) / Velké Zlievce (SK) |  |  | HU>SK | 50.883 | 21Z000000000358C | FGSZ |  | HU | Hungary | 21Z000000000358C |  | eustream | SK | Slovakia | B | B | 11.16 | 11.46
[5 empty] | SK>HU | 128.9 | 21Z000000000358C | eustream |  | SK | Slovakia | 21Z000000000358C |  | FGSZ | HU | Hungary | B | B | 11.16 | 11.46
76 | V | VIP PIRINEOS |  |  | >IB-FR4 | 224.4 | 21Z000000000285D | Enagas |  | ES | Spain | 21Z000000000285D |  | TERÉGA | FR | TRF | B | B | 11.6 | 11.62
[5 empty] | IB-FR4> | 164.572 | 21Z000000000285D | TERÉGA |  | FR | TRF | 21Z000000000285D |  | Enagas | ES | Spain | B | B | 11.6 | 11.62
77 |  | RC Basel
[5 empty] | DEn>CH | 8.8 | 21Z000000000253Q | terranets bw |  | DE | NCG |  |  | GVM | CH |  | N |  | 11.19 | 11.65
78 |  | RC Lindau
[5 empty] | DEn>AT | 25.4 | 21Z000000000252S | bayernets |  | DE | NCG |  |  | Vorarlberger Erdgas | AT |  | N
[8 empty] | terranets bw |  | DE | NCG | [5 empty] | N |  | 11.21 | 11.57
79 |  | RC Thayngen-Fallentor
[5 empty] | DEn>CH | 0 | 21Z000000000254O | terranets bw |  | DE | NCG |  |  | Erdgas Ostschweiz | CH |  | N |  | 11.22 | 11.61
81 |  | Luhamaa This is a virtual transit point trough Estonia between Russia and Latvia. No metering station in Estonia. |  |  | >IB-RUek | 85 | 38ZEEG-0007107-I | Conexus |  | LV | Joint Bal Zone EE/LV |  |  | Gazprom | RU |  | N |  | 11.253 | 11.253
[5 empty] | IB-RUek> | 168 |  | Gazprom |  | RU |  | 38ZEEG-0007107-I |  | Conexus | LV | Joint Bal Zone EE/LV |  | N | 11.253 | 11.253
82 | V | GCP GAZ-SYSTEM/ONTRAS According to Art. 19 (9) of CAM NC, ONTRAS and GAZ-SYSTEM to agreed to offer the capacity at one virtual interconnection point - GCP GAZ-SYSTEM/ONTRAS |  |  | DEg>PL | 48.7 | 21Z000000000456C | ONTRAS |  | DE | GASPOOL | 21Z000000000456C |  | GAZ-SYSTEM | PL | Poland H-gas | B | B | 11.24 | 11.35
[5 empty] | PL>DEg | 0.1 | 21Z000000000456C | GAZ-SYSTEM |  | PL | Poland H-gas | 21Z000000000456C |  | ONTRAS | DE | GASPOOL | B | B | 11.24 | 11.35
83 |  | Ruse (BG) / Giurgiu (RO) |  |  | BGn>RO | 26.49 | 21Z0000000002798 | Bulgartransgaz |  | BG | NGTN-BG | 21Z0000000002798 |  | Transgaz | RO | RO_NTS | B | B | 11.37 | 11.52
[5 empty] | RO>BGn | 26.95 | 21Z0000000002798 | Transgaz |  | RO | RO_NTS | 21Z0000000002798 |  | Bulgartransgaz | BG | NGTN-BG | B | B | 11.57 | 11.57
84 | V | VIP Brandov NET4GAS offers free capacity between these market zones only at VIP Brandov-GASPOOL. VIP capacity at CZ side was re-allocated to old IP points just to prevent any unnecessary capacity cut due to Lesser-Of Rule and for purpose of this map. |  |  | >Y-CZb | 184.1 | 21Z0000000004863 | GASCADE Gastransport |  | DE | GASPOOL |  |  | NET4GAS | CZ |  | N
[5 empty] | Y-CZb> | 335.1 |  | NET4GAS |  | CZ |  | 21Z0000000004863 |  | GASCADE Gastransport | DE | GASPOOL |  | N
86 | V | VIRTUALYS Virtualys is virtualising 'Alveringem' and 'Taisnieres H/Blaregnies Segeo/Troll' since 1 Dec 2017 |  |  | >IB-FR1 | 640 | 21Z0000000004847 | Fluxys Belgium |  | BE | BeLux | 21Z0000000004847 |  | GRTgaz | FR | TRF | B | B | 11.56 | 11.63
[5 empty] | IB-FR1> | 270 | 21Z0000000004847 | GRTgaz |  | FR | TRF | 21Z0000000004847 |  | Fluxys Belgium | BE | BeLux | B | B | 11.63 | 11.63
87 |  | Deutschneudorf EUGAL Brandov |  |  | >Y-CZb | 665.81 | 21Z0000000004839 | Fluxys Deutschland |  | DE | GASPOOL |  |  | NET4GAS | CZ |  | N
[8 empty] | GASCADE Gastransport |  | DE | GASPOOL |  |  | NET4GAS | CZ |  | N
[8 empty] | Gasunie Deutschland |  | DE | GASPOOL |  |  | NET4GAS | CZ |  | N
[8 empty] | ONTRAS |  | DE | GASPOOL |  |  | NET4GAS | CZ |  | N |  | 11.26 | 11.26
88 | V | VIP-BENE |  |  | BEh>NL | 331.2 | 21Z000000000503T | Fluxys Belgium |  | BE | BeLux | 21Z000000000503T |  | GTS | NL | Netherlands | B | B | 11.63 | 11.63
[5 empty] | NL>BEh | 801.6 | 21Z000000000503T | GTS |  | NL | Netherlands | 21Z000000000503T |  | Fluxys Belgium | BE | BeLux | B | B | 11.63 | 11.63
89 | V | VIP Belgium - NCG |  |  | >IB-BEhe | 268.35 | 21Z000000000497Z | Open Grid Europe |  | DE | NCG | 21Z000000000497Z |  | Fluxys Belgium | BE | BeLux | - | -
[5 empty] | IB-BEhe> | 193.27 | 21Z000000000497Z | Fluxys Belgium |  | BE | BeLux | 21Z000000000497Z |  | Open Grid Europe | DE | NCG | - | -
90 |  | Melendugno - IT / TAP |  |  | >IB-ITs | 487.1 |  | Trans-Adriatic Pipeline |  | AL | Albania | 21Z000000000474A |  | Snam Rete Gas | IT | Italy |  | Y | 11.68 | 11.68
91 |  | Kireevo (BG) / Zaychar (RS) |  |  | BGg/BGT>RS | 398.13 | 58Z-000000007-KZ | Bulgartransgaz |  | BG | GTNTT-BG |  |  | GASTRANS | RS | Serbia | B |  | 11.25 | 11.25
[5 empty] | RS>BGg/BGT | 335.26 |  | GASTRANS |  | RS | Serbia | 58Z-000000007-KZ |  | Bulgartransgaz | BG | GTNTT-BG |  | B | 11.25 | 11.25
92 |  | Nea Mesimvria |  |  | GR/TAP>GR | 53.4 |  | Trans-Adriatic Pipeline |  | GR | Greece | 21Z000000000233W |  | DESFA | GR | Greece |  | Y
95 | V | VIP TTF-NCG H |  |  | DEn>NL | 245.103 | 21Z000000000502V | Open Grid Europe |  | DE | NCG | 21Z000000000502V |  | GTS | NL | Netherlands | N | B | 11.199 | 11.702
[8 empty] | Thyssengas |  | DE | NCG | [6 empty] | B
[8 empty] | Fluxys TENP |  | DE | NCG | [6 empty] | B
[5 empty] | NL>DEn | 276.023 | 21Z000000000502V | GTS |  | NL | Netherlands | 21Z000000000502V |  | Open Grid Europe | DE | NCG | B | N | 11.199 | 11.702
[14 empty] | Thyssengas |  |  | B
[14 empty] | Fluxys TENP |  |  | B
96 | V | VIP TTF-NCG L |  |  | NL>DEnL | 706.8 | 21Z000000000501X | GTS |  | NL | Netherlands | 21Z000000000501X |  | Thyssengas | DE | NCG | Y | Y
[14 empty] | Open Grid Europe | DE | NCG | Y | Y
97 | V | VIP TTF-GASPOOL L |  |  | NL>DEgL | 126.4 | 21Z000000000499V | GTS |  | NL | Netherlands | 21Z000000000499V |  | Gasunie Deutschland | DE | GASPOOL | Y | N
98 | V | VIP TTF-GASPOOL H |  |  | DEg>NL | 348.5 | 21Z000000000500Z | Gasunie Deutschland |  | DE | GASPOOL | 21Z000000000500Z |  | GTS | NL | Netherlands | N | B
[5 empty] | NL>DEg | 75.8 | 21Z000000000500Z | GTS |  | NL | Netherlands | 21Z000000000500Z |  | Gasunie Deutschland | DE | GASPOOL | B | N
120 |  | Rep. San Marino |  |  | IT>SM | 4.3 | 21Z000000000276E | Snam Rete Gas |  | IT | Italy |  |  | Snam Rete Gas | SM |  | N |  | 11.35 | 11.35
Intra-Balancing Zone Point
100 |  | Nybro |  |  | IB-NPcDKn> | 396 |  | Orsted |  | DK |  | 21Z0000000000252 |  | Energinet | DK | Joint Bal Zone DK/SE |  | N | 12.1 | 12.1
103 |  | Kienbaum |  |  | DEg>DEn | 66.6 | 37Z000000001078I | GASCADE Gastransport |  | DE | GASPOOL | 37Z000000001078I |  | Open Grid Europe | DE | NCG | Y | Y | 11.189 | 11.369
104 |  | Broichweiden Süd |  |  | DEg>DEn | 0 | 37Z000000004913W | GASCADE Gastransport |  | DE | GASPOOL | 37Z000000004913W |  | Thyssengas | DE | NCG | Y | Y
[5 empty] | DEn>DEg | 0 | 37Z000000004913W | Thyssengas |  | DE | NCG | 37Z000000004913W |  | GASCADE Gastransport | DE | GASPOOL | Y | Y
105 |  | Lampertheim IV |  |  | DEg>DEn | 24 | 37Z000000001442N | GASCADE Gastransport |  | DE | GASPOOL | 37Z000000001442N |  | terranets bw | DE | NCG | Y | Y | 11.14 | 11.42
107 |  | Bunder-Tief |  |  | DEg>DEn | 0 | 37Z000000006390S | Gasunie Deutschland |  | DE | GASPOOL | 37Z000000006390S |  | Open Grid Europe | DE | NCG | N | B | 11.076 | 11.626
[5 empty] | DEn>DEg | 0 | 37Z000000006390S | Open Grid Europe |  | DE | NCG | 37Z000000006390S |  | Gasunie Deutschland | DE | GASPOOL | B | N | 11.076 | 11.626
109 |  | Emsbüren-Berge |  |  | DEg>DEn | 6.6 | 37Z000000004972G | Gasunie Deutschland |  | DE | GASPOOL | 37Z000000004972G |  | Thyssengas | DE | NCG | N | Y
[5 empty] | DEn>DEg | 0 | 37Z000000004972G | Thyssengas |  | DE | NCG | 37Z000000004972G |  | Gasunie Deutschland | DE | GASPOOL | Y | N
113 |  | Steinitz |  |  | DEg>DEn | 66.6 | 21Z000000000237O | ONTRAS |  | DE | GASPOOL | 21Z000000000237O |  | Open Grid Europe | DE | NCG | B | B | 10.965 | 11.58
[5 empty] | DEn>DEg | 34.4 | 21Z000000000237O | Open Grid Europe |  | DE | NCG | 21Z000000000237O |  | ONTRAS | DE | GASPOOL | B | B | 10.965 | 11.58
116 |  | Wardenburg RG |  |  | DEg>DEn | 0 | 37Z000000006389D | Gasunie Deutschland |  | DE | GASPOOL | 37Z000000006389D |  | Open Grid Europe | DE | NCG | N | B | 10.776 | 11.64
[5 empty] | DEn>DEg | 24 | 37Z000000006389D | Open Grid Europe |  | DE | NCG | 37Z000000006389D |  | Gasunie Deutschland | DE | GASPOOL | B | N | 10.776 | 11.64
119 |  | Gernsheim |  |  | DEg>DEn/MEG | 105.8 | 37Z000000006481P | GASCADE Gastransport |  | DE | GASPOOL | 37Z000000006481P |  | GRTgaz Deutschland | DE | NCG | B | B | 11.2 | 11.2
125 | V | Point of Interconnection (PWP) (PL) |  |  | PL/YAM>PL | 277.6 | 21Z000000000399Z | GAZ-SYSTEM (ISO) |  | PL | TGPS (YAMAL) | 21Z000000000399Z |  | GAZ-SYSTEM | PL | Poland H-gas | Y | Y | 11.26 | 11.37
131 | V | Zone GASCADE / OGE |  |  | DEg>DEn | 14.868 | 37Y000000000385S | GASCADE Gastransport |  | DE | GASPOOL | 37Y000000000385S |  | Open Grid Europe | DE | NCG | Y | B | 11.203 | 11.357
132 | V | Transfer Point NGTN <-> GTNTT |  |  | BGg/BGT>BGn | 322.38 |  | Bulgartransgaz |  | BG | NGTN-BG | 58Z-TRANSFERNT-E |  | Bulgartransgaz | BG | NGTN-BG |  | B | 11.25 | 11.25
[5 empty] | BGn>BGg/BGT | 21.11 | 58Z-TRANSFERNT-E | Bulgartransgaz |  | BG | NGTN-BG |  |  | Bulgartransgaz | BG | NGTN-BG | B |  | 11.25 | 11.25
133 | V | VIP L GASPOOL-NCG VIP for Ahlten, Steinbrink, Drohne GUD/OGE, Nordlohne, Emsbueren RG (L-gas) |  |  | DEgL>DEnL | 70.4 | 37Z000000007353T | Nowega |  | DE | GASPOOL | 37Z000000007353T |  | Open Grid Europe | DE | NCG | N | Y | 9.71 | 10.552
134 | V | GDLux (BE) / Bras Petange (LU) |  |  | BEh>LU | 48.8 | 21Z0000000001070 | Fluxys Belgium |  | BE | BeLux | 21Z0000000001070 |  | Creos Luxembourg | LU | BeLux | Y | N | 11.63 | 11.63
135 |  | Drohne NOWAL |  |  | DEg>DEn | 40.983 | 21Z0000000004774 | GASCADE Gastransport |  | DE | GASPOOL | 21Z0000000004774 |  | Open Grid Europe | DE | NCG | Y | Y | 11.225 | 11.525
[5 empty] | DEn>DEg | 0 | 21Z0000000004774 | Open Grid Europe |  | DE | NCG | 21Z0000000004774 |  | GASCADE Gastransport | DE | GASPOOL | Y | Y | 11.225 | 11.525
Cross-border IP with non-EU (import)
200 |  | St. Fergus |  |  | NO>UK | 705.8 |  | Gassco |  | NO |  | 21YSF-EC-------Q |  | National Grid Gas | UK | UK | N | N | 11 | 11
201 |  | Dornum (EPT1 & EPT2) |  |  | Y-NOd> | 575.87 |  | Gassco |  | NO |  | 21Z000000000053Y |  | Gasunie Deutschland | DE | GASPOOL | N | N
[14 empty] | Open Grid Europe | DE | NCG | N | Y | 11.21 | 11.65
202 |  | Emden (EPT1) |  |  | Y-NOp> | 1481.496 |  | Gassco |  | NO |  | 21Z0000000000503 |  | Open Grid Europe | DE | NCG | N | Y | 11.379 | 11.781
[12 empty] | 21Z0000000000511 |  | Gasunie Deutschland | DE | GASPOOL | N | N
[12 empty] | 21Z000000000055U |  | GTS | NL | Netherlands | N | Y
[12 empty] | 21Z000000000145T |  | Thyssengas | DE | NCG | N | N
203 |  | Emden (NPT) Since 1st of October 2015, this point has been merged into Emden EPT.
[5 empty] | Y-NOp> | 356 |  | Gassco |  | NO | [6 empty] | N
204 |  | Zeebrugge ZPT |  |  | >IB-BEhz | 488 |  | Gassco |  | NO |  | 21Z000000000046V |  | Fluxys Belgium | BE | BeLux | Y | Y | 11.63 | 11.63
205 |  | Dunkerque |  |  | >IB-FR2 | 570 |  | Gassco |  | NO |  | 21Z000000000047T |  | GRTgaz | FR | TRF | N | N | 11.4 | 11.45
206 |  | Easington |  |  | NO>UK | 793.3 |  | Gassco |  | NO |  | 21YEA-EC-------9 |  | National Grid Gas | UK | UK | N | N | 11 | 11
207 |  | Tarifa |  |  | DZ>ES | 442.7 |  | Europe Maghreb Pipeline Limited (EMPL) |  | DZ | Algeria | 21Z000000000045X |  | Enagas | ES | Spain |  | N | 11.45 | 11.45
208 |  | Almería |  |  | DZ>ES | 289 |  | Medgaz |  | DZ | Algeria | 21Z0000000002131 |  | Enagas | ES | Spain |  | N | 11.62 | 11.62
209 |  | Mazara del Vallo SRG entry points at Mazara and Gela are limited by a cluster capacity of 1385,3 Gwh/d |  |  | >IB-ITi | 1138.1 |  | TPMC |  | TN | Tunisia | 21Z000000000080V |  | Snam Rete Gas | IT | Italy |  | N | 11.75 | 11.75
210 |  | Gela SRG entry points at Mazara and Gela are limited by a cluster capacity of 1385,3 Gwh/d |  |  | >IB-ITi | 475.8 |  | GreenStream |  | LY | Libya | 21Z000000000149L |  | Snam Rete Gas | IT | Italy |  | N | 11.49 | 11.49
211 |  | Imatra |  |  | RUeu>FI | 220 |  | Gazprom |  | RU | Russia | 21Z000000000059M |  | Gasgrid Finland | FI | Finland |  | N | 11.24 | 11.25
213 |  | Kotlovka |  |  | BY>LT | 325.4 |  | Gazprom Transgaz Belarus |  | BY | Belarus | 21Z000000000156O |  | Amber Grid | LT | Lithuania |  | N | 11.17 | 11.41
214 |  | Tieterowka |  |  | BY>PL | 7.3 |  | Gazprom Transgaz Belarus |  | BY | Belarus | 21Z0000000001321 |  | GAZ-SYSTEM | PL | Poland H-gas |  | N | 11.26 | 11.34
215 |  | Kondratki |  |  | BY>PL/YAM | 1027.1 |  | Gazprom Transgaz Belarus |  | BY | Belarus | 21Z0000000000066 |  | GAZ-SYSTEM (ISO) | PL | TGPS (YAMAL) |  | N | 11.26 | 11.37
216 |  | Wysokoje |  |  | BY>PL | 169.1 |  | Gazprom Transgaz Belarus |  | BY | Belarus | 21Z000000000136U |  | GAZ-SYSTEM | PL | Poland H-gas |  | N | 11.27 | 11.34
218 |  | Uzhgorod (UA) - Velké Kapušany (SK) |  |  | UA>SK | 2028 |  | PJSC UKRTRANSGAZ |  | UA | Ukraine | 21Z000000000085L |  | eustream | SK | Slovakia |  | N | 11.16 | 11.16
[12 empty] | 21Z000000000085L |  | eustream | SK | Slovakia |  | N | 11.16 | 11.16
[12 empty] | 21Z000000000085L |  | eustream | SK | Slovakia |  | N | 11.16 | 11.16
[12 empty] | 21Z000000000085L |  | eustream | SK | Slovakia |  | N | 11.16 | 11.16
221 |  | Isaccea (RO) - Orlovka (UA) I |  |  | RO>UAe | 122.2 | 21Z000000000304Z | Transgaz |  | RO | RO_NTS |  |  | PJSC UKRTRANSGAZ | UA | Ukraine | B |  | 11.41 | 11.41
[5 empty] | UA>RO | 201.9 |  | PJSC UKRTRANSGAZ |  | UA | Ukraine | 21Z000000000304Z |  | Transgaz | RO | RO_NTS |  | B | 11.35 | 11.35
Isaccea (RO) - Orlovka (UA) II
[5 empty] | UA>RO/TBP | 293.3 |  | PJSC UKRTRANSGAZ |  | UA | Ukraine | 21Z000000000305X |  | Transgaz | RO | RO_DTS |  | N | 11.33 | 11.33
Isaccea (RO) - Orlovka (UA) III
[5 empty] | UA>RO/TBP | 297.4 |  | PJSC UKRTRANSGAZ |  | UA | Ukraine | 21Z000000000306V |  | Transgaz | RO | RO_DTS |  | N | 11.33 | 11.33
222 |  | Kipi (TR) / Kipi (GR) |  |  | >IB-GRk | 48.6 |  | Botas |  | TR | Turkey | 21Z000000000233W |  | DESFA | GR | Greece |  | Y | 11.3 | 11.3
[14 empty] | IGI Poseidon | GR | Greece | Y
223 |  | Värska |  |  | IB-RUen> | 35.7 | [5 empty] | 38ZEEG-0007102-X |  | Elering | EE | Joint Bal Zone EE/LV |  | N | 11.3 | 11.3
224 |  | Greifswald |  |  | Y-RUg/NOS> | 1742 |  | NordStream |  | RU | Russia | 37Z000000004913W |  | GASCADE Gastransport | DE | GASPOOL |  | N
[12 empty] | 21Z000000000241X |  | LBTG | DE | GASPOOL |  | N
[12 empty] | 21Z000000000255M |  | Fluxys Deutschland | DE | GASPOOL |  | Y | 11.27 | 11.29
GOAL
OPAL Gastransport
NEL Gasransport
[14 empty] | Gasunie Deutschland | DE | GASPOOL |  | N
225 |  | Narva |  |  | >IB-RUen | 0 | 38ZEEG-0007103-U | Elering |  | EE | Joint Bal Zone EE/LV |  |  | Gasprom | RU |  | -
[5 empty] | IB-RUen> | 0 |  | Gasprom |  | RU |  | 38ZEEG-0007103-U |  | Elering | EE | Joint Bal Zone EE/LV |  | -
226 | V | VIP Mediesu Aurit - Isaccea (RO-UA) |  |  | UA>RO | 370.8 |  | PJSC UKRTRANSGAZ |  | UA | Ukraine | 21Z000000000373G |  | Transgaz | RO | RO_NTS |  | N | 11.31 | 11.31
228 |  | Dornum GASPOOL |  |  | Y-NOd> | 153.198 |  | Gassco |  | NO | Norway | 21Z0000000004855 |  | Open Grid Europe | DE | GASPOOL |  | Y | 11.21 | 11.65
229 |  | Lubmin II |  |  | RU/NO2>DEg | 962.4 | [5 empty] | 21Z0000000004790 |  | Fluxys Deutschland | DE | GASPOOL |  | N | 11.27 | 11.29
[14 empty] | GASCADE Gastransport | DE | GASPOOL |  | N
[14 empty] | Gasunie Deutschland | DE | GASPOOL |  | N
[14 empty] | ONTRAS | DE | GASPOOL |  | N
230 | V | GCP GAZ-SYSTEM/UA TSO added due to VIP creation |  |  | PL>UAe | 0 | 21Z000000000508J | GAZ-SYSTEM |  | PL | Poland H-gas | [5 empty] | B |  | 11.38 | 11.46
[5 empty] | UA>PL | 135.6 |  | PJSC UKRTRANSGAZ |  | UA | Ukraine | 21Z000000000508J |  | GAZ-SYSTEM | PL | Poland H-gas |  | B | 11.38 | 11.46
231 | V | VIP Bereg (HU) / VIP Bereg (UA) Virtual Interconnection Point |  |  | HU>UAe | 0 | 21Z000000000507L | FGSZ |  | HU | Hungary | [5 empty] | B |  | 11.34 | 11.46
[5 empty] | UA>HU | 515.6 |  | PJSC UKRTRANSGAZ |  | UA | Ukraine | 21Z000000000507L |  | FGSZ | HU | Hungary |  | B | 11.33 | 11.46
232 |  | Strandzha 2 (BG) / Malkoclar (TR) |  |  | TR/STR>BGg/BGT | 576.03 |  | Botas |  | TR | Turkey | 58Z-00000015-S2M |  | Bulgartransgaz | BG | GTNTT-BG |  | N | 11.25 | 11.25
233 |  | Kipoi |  |  | TR/TNP>GR/TAP | 350 |  | TANAP |  | TR | Turkey |  |  | Trans Adriatic Pipeline | GR | Greece |  | Y
LNG Entry point
300 |  | Zeebrugge LNG |  |  | >IB-BEhz | 477 |  | Fluxys LNG |  |  |  | 21Z0000000000082 |  | Fluxys Belgium | BE | BeLux |  | Y | 11.63 | 11.63
302 |  | Isle of Grain |  |  | LNG_Tk_UK>UK | 699.68 |  | Grain LNG |  |  |  | 21YIG-EC-------X |  | National Grid Gas | UK | UK |  | N
303 |  | Milford Haven |  |  | LNG_Tk_UK>UK | 916.767 |  | Dragon LNG; South Hook LNG |  |  |  | 21Y---A001A011-7 |  | National Grid Gas | UK | UK |  | N
304 |  | Montoir de Bretagne |  |  | >IB-FR3 | 320.548 |  | Elengy |  |  |  | 21Z000000000029V |  | GRTgaz | FR | TRF |  | N | 11.93 | 11.93
305 |  | Fos (Tonkin/Cavaou) |  |  | >IB-FR4 | 360.616 |  | Fosmax LNG; Elengy |  |  |  | 21Y---A001A006-X |  | GRTgaz | FR | TRF |  | N | 12.05 | 12.05
306 |  | Panigaglia |  |  | LNG_Tk_IT>IT | 109 |  | GNL Italia |  |  |  | 21Z0000000000430 |  | Snam Rete Gas | IT | Italy |  | N | 12.02 | 12.02
307 |  | Cavarzere (Porto Levante / Adriatic LNG) In the integrated management of the whole gas system, SNAM carries out some activities on the basis of an agreement with ITG (capacity allocation and management, balancing). In this context, data for Cavarzere IP are published by SNAM on behalf of ITG. |  |  | LNG_Tk_ITa>IT | 289.2 |  | GNL Adratico |  |  |  | 21Z000000000142Z |  | Snam Rete Gas | IT | Italy |  | N | 11.56 | 11.56
[14 empty] | ITG | IT | Italy
308 |  | Agia Triada Revythoussa LNG Terminal is located on Revythoussa island. Agia Triada is the Entry Point in DESFA’s NGTS (Natural Gas Transmission System) and is located on the continent. It communicates with the LNG Terminal with two underwater pipelines. |  |  | LNG_Tk_GR>GR | 204.48 |  | DESFA |  |  |  | 21Z0000000000422 |  | DESFA | GR | Greece |  | N | 11.96 | 11.96
309 |  | Barcelona |  |  | LNG_Tk_ES>ES | 542.9 |  | ENAGAS LSO |  |  |  | 21Z000000000063V |  | Enagas | ES | Spain |  | Y | 11.62 | 11.62
310 |  | Sagunto |  |  | LNG_Tk_ES>ES | 278.3 |  | Saggas |  |  |  | 21Z000000000129R |  | Enagas | ES | Spain |  | Y | 11.72 | 11.72
311 |  | Cartagena |  |  | LNG_Tk_ES>ES | 375.8 |  | ENAGAS LSO |  |  |  | 21Z000000000064T |  | Enagas | ES | Spain |  | Y | 11.65 | 11.65
312 |  | Huelva |  |  | LNG_Tk_ESa>ES | 375.8 |  | ENAGAS LSO |  |  |  | 21Z000000000065R |  | Enagas | ES | Spain |  | Y | 11.79 | 11.79
313 |  | Mugardos Until 04/04/2017 Enagas reported the data at Mugardos on behalf of Reganosa, which is the actual operator at this point |  |  | LNG_Tk_ESa>ES | 115.2 |  | Reganosa | [5 empty] | Reganosa | ES | Spain |  | Y | 11.6 | 11.6
314 |  | Bilbao |  |  | LNG_Tk_ESa>ES | 222.7 |  | BBG |  |  |  | 21Z0000000001402 |  | Enagas | ES | Spain |  | Y | 11.6 | 11.6
315 |  | Sines |  |  | LNG_Tk_PT>PT | 200 |  | REN Atlantico |  |  |  | 21Z0000000001313 |  | REN - Gasodutos | PT | Portugal |  | Y | 11.9 | 11.9
316 |  | Gate Terminal (I) |  |  | LNG_Tk_NL>NL | 384.658 |  | Gate terminal |  |  |  | 21W0000000000079 |  | GTS | NL | Netherlands |  | N
317 |  | OLT LNG / Livorno |  |  | LNG_Tk_IT>IT | 163.9 |  | OGT LNG |  |  |  | 21Z000000000275G |  | Snam Rete Gas | IT | Italy |  | N | 11.52 | 11.52
319 |  | FSRU Independence |  |  | LNG_Tk_LT>LT | 122.4 |  | Klaipedos Nafta |  |  |  | 21Z0000000003697 |  | Amber Grid | LT | Lithuania |  | N | 11.22 | 11.87
320 |  | Dunkerque LNG |  |  | Y-FRnd> | 519.2 |  | Dunkerque LNG |  |  |  | 21Z000000000371K |  | GRTgaz | FR | TRF |  | N | 11.75 | 11.75
321 |  | Swinoujscie |  |  | LNG_Tk_PL>PL | 158 |  | GAZ-SYSTEM |  |  |  | 21Z000000000454G |  | GAZ-SYSTEM | PL | Poland H-gas |  | N | 11.57 | 11.79
322 |  | LNG Croatia |  |  | LNG_Tk_HR>HR | 79.8 |  | LNG Hrvatska | [5 empty] | Plinacro Ltd | HR | Croatia |  | N | 11.2676 | 12.1374

## Cross_table
Column1 | UK | BE | NL | DE | AT | IT | CH | SI | HR | FR | DK | PL | CZ | SK | HU | RS | BG | GR | RO | LT | LV | ES | PT | UA | MD | RU | AL | LU | IE | BA | MK | TR | SM | NO | DZ | TN | LY | BY | EE | FI
UK | 1455.1 | 651.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 386.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BE | 803.4 | 0 | 331.2 | 322.77 | 0 | 0 | 0 | 0 | 0 | 870 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NL | 0 | 1397.2 | 0 | 1925.773 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DE | 0 | 396.15 | 1628.303 | 669 | 344.248 | 0 | 328 | 0 | 0 | 613.716 | 136.112 | 233.5 | 1803.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AT | 0 | 0 | 0 | 339.968 | 0 | 1150 | 0 | 112.5 | 0 | 0 | 0 | 0 | 0 | 246.5 | 153.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IT | 0 | 0 | 0 | 0 | 193.5 | 0 | 431.4 | 28.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH | 0 | 0 | 0 | 172.8 | 0 | 640.4 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SI | 0 | 0 | 0 | 0 | 0 | 21.5 | 0 | 0 | 53.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 48.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FR | 0 | 270 | 0 | 0 | 0 | 0 | 223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164.572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DK | 0 | 0 | 0 | 4.119 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PL | 0 | 0 | 0 | 931.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CZ | 0 | 0 | 0 | 1231.759 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 1246.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SK | 0 | 0 | 0 | 0 | 1570.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 457.6 | 0 | 128.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77.4 | 0 | 0 | 0 | 0 | 50.883 | 0 | 142 | 0 | 0 | 77.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 398.13 | 0 | 117.8 | 148.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.38 | 497.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64.82 | 53.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.3 | 0 | 805.75 | 0 | 0 | 0 | 0 | 0 | 0 | 122.2 | 16.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67.6 | 0 | 0 | 0 | 0 | 114.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.1 | 0 | 0 | 0 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135.6 | 0 | 2277.6 | 515.6 | 0 | 0 | 0 | 1163.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RU | 0 | 0 | 0 | 1742 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 220
AL | 0 | 0 | 0 | 0 | 0 | 487.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 576.03 | 398.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NO | 1499.1 | 488 | 0 | 2210.564 | 0 | 0 | 0 | 0 | 0 | 570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DZ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 731.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TN | 0 | 0 | 0 | 0 | 0 | 1138.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LY | 0 | 0 | 0 | 0 | 0 | 475.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1203.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 325.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Connections_cross_table
From | To | Value
UK | UK | 1455.1
UK | BE | 651.7
UK | NL | 0
UK | DE | 0
UK | AT | 0
UK | IT | 0
UK | CH | 0
UK | SI | 0
UK | HR | 0
UK | FR | 0
UK | DK | 0
UK | PL | 0
UK | CZ | 0
UK | SK | 0
UK | HU | 0
UK | RS | 0
UK | BG | 0
UK | GR | 0
UK | RO | 0
UK | LT | 0
UK | LV | 0
UK | ES | 0
UK | PT | 0
UK | UA | 0
UK | MD | 0
UK | RU | 0
UK | AL | 0
UK | LU | 0
UK | IE | 386.9
UK | BA | 0
UK | MK | 0
UK | TR | 0
UK | SM | 0
UK | NO | 0
UK | DZ | 0
UK | TN | 0
UK | LY | 0
UK | BY | 0
UK | EE | 0
UK | FI | 0
BE | UK | 803.4
BE | BE | 0
BE | NL | 331.2
BE | DE | 322.77
BE | AT | 0
BE | IT | 0
BE | CH | 0
BE | SI | 0
BE | HR | 0
BE | FR | 870
BE | DK | 0
BE | PL | 0
BE | CZ | 0
BE | SK | 0
BE | HU | 0
BE | RS | 0
BE | BG | 0
BE | GR | 0
BE | RO | 0
BE | LT | 0
BE | LV | 0
BE | ES | 0
BE | PT | 0
BE | UA | 0
BE | MD | 0
BE | RU | 0
BE | AL | 0
BE | LU | 0
BE | IE | 0
BE | BA | 0
BE | MK | 0
BE | TR | 0
BE | SM | 0
BE | NO | 0
BE | DZ | 0
BE | TN | 0
BE | LY | 0
BE | BY | 0
BE | EE | 0
BE | FI | 0
NL | UK | 0
NL | BE | 1397.2
NL | NL | 0
NL | DE | 1925.773
NL | AT | 0
NL | IT | 0
NL | CH | 0
NL | SI | 0
NL | HR | 0
NL | FR | 0
NL | DK | 0
NL | PL | 0
NL | CZ | 0
NL | SK | 0
NL | HU | 0
NL | RS | 0
NL | BG | 0
NL | GR | 0
NL | RO | 0
NL | LT | 0
NL | LV | 0
NL | ES | 0
NL | PT | 0
NL | UA | 0
NL | MD | 0
NL | RU | 0
NL | AL | 0
NL | LU | 0
NL | IE | 0
NL | BA | 0
NL | MK | 0
NL | TR | 0
NL | SM | 0
NL | NO | 0
NL | DZ | 0
NL | TN | 0
NL | LY | 0
NL | BY | 0
NL | EE | 0
NL | FI | 0
DE | UK | 0
DE | BE | 396.15
DE | NL | 1628.303
DE | DE | 669
DE | AT | 344.248
DE | IT | 0
DE | CH | 328
DE | SI | 0
DE | HR | 0
DE | FR | 613.716
DE | DK | 136.112
DE | PL | 233.5
DE | CZ | 1803.77
DE | SK | 0
DE | HU | 0
DE | RS | 0
DE | BG | 0
DE | GR | 0
DE | RO | 0
DE | LT | 0
DE | LV | 0
DE | ES | 0
DE | PT | 0
DE | UA | 0
DE | MD | 0
DE | RU | 0
DE | AL | 0
DE | LU | 26.71
DE | IE | 0
DE | BA | 0
DE | MK | 0
DE | TR | 0
DE | SM | 0
DE | NO | 0
DE | DZ | 0
DE | TN | 0
DE | LY | 0
DE | BY | 0
DE | EE | 0
DE | FI | 0
AT | UK | 0
AT | BE | 0
AT | NL | 0
AT | DE | 339.968
AT | AT | 0
AT | IT | 1150
AT | CH | 0
AT | SI | 112.5
AT | HR | 0
AT | FR | 0
AT | DK | 0
AT | PL | 0
AT | CZ | 0
AT | SK | 246.5
AT | HU | 153.1
AT | RS | 0
AT | BG | 0
AT | GR | 0
AT | RO | 0
AT | LT | 0
AT | LV | 0
AT | ES | 0
AT | PT | 0
AT | UA | 0
AT | MD | 0
AT | RU | 0
AT | AL | 0
AT | LU | 0
AT | IE | 0
AT | BA | 0
AT | MK | 0
AT | TR | 0
AT | SM | 0
AT | NO | 0
AT | DZ | 0
AT | TN | 0
AT | LY | 0
AT | BY | 0
AT | EE | 0
AT | FI | 0
IT | UK | 0
IT | BE | 0
IT | NL | 0
IT | DE | 0
IT | AT | 193.5
IT | IT | 0
IT | CH | 431.4
IT | SI | 28.5
IT | HR | 0
IT | FR | 0
IT | DK | 0
IT | PL | 0
IT | CZ | 0
IT | SK | 0
IT | HU | 0
IT | RS | 0
IT | BG | 0
IT | GR | 0
IT | RO | 0
IT | LT | 0
IT | LV | 0
IT | ES | 0
IT | PT | 0
IT | UA | 0
IT | MD | 0
IT | RU | 0
IT | AL | 0
IT | LU | 0
IT | IE | 0
IT | BA | 0
IT | MK | 0
IT | TR | 0
IT | SM | 4.3
IT | NO | 0
IT | DZ | 0
IT | TN | 0
IT | LY | 0
IT | BY | 0
IT | EE | 0
IT | FI | 0
CH | UK | 0
CH | BE | 0
CH | NL | 0
CH | DE | 172.8
CH | AT | 0
CH | IT | 640.4
CH | CH | 0
CH | SI | 0
CH | HR | 0
CH | FR | 100
CH | DK | 0
CH | PL | 0
CH | CZ | 0
CH | SK | 0
CH | HU | 0
CH | RS | 0
CH | BG | 0
CH | GR | 0
CH | RO | 0
CH | LT | 0
CH | LV | 0
CH | ES | 0
CH | PT | 0
CH | UA | 0
CH | MD | 0
CH | RU | 0
CH | AL | 0
CH | LU | 0
CH | IE | 0
CH | BA | 0
CH | MK | 0
CH | TR | 0
CH | SM | 0
CH | NO | 0
CH | DZ | 0
CH | TN | 0
CH | LY | 0
CH | BY | 0
CH | EE | 0
CH | FI | 0
SI | UK | 0
SI | BE | 0
SI | NL | 0
SI | DE | 0
SI | AT | 0
SI | IT | 21.5
SI | CH | 0
SI | SI | 0
SI | HR | 53.7
SI | FR | 0
SI | DK | 0
SI | PL | 0
SI | CZ | 0
SI | SK | 0
SI | HU | 0
SI | RS | 0
SI | BG | 0
SI | GR | 0
SI | RO | 0
SI | LT | 0
SI | LV | 0
SI | ES | 0
SI | PT | 0
SI | UA | 0
SI | MD | 0
SI | RU | 0
SI | AL | 0
SI | LU | 0
SI | IE | 0
SI | BA | 0
SI | MK | 0
SI | TR | 0
SI | SM | 0
SI | NO | 0
SI | DZ | 0
SI | TN | 0
SI | LY | 0
SI | BY | 0
SI | EE | 0
SI | FI | 0
HR | UK | 0
HR | BE | 0
HR | NL | 0
HR | DE | 0
HR | AT | 0
HR | IT | 0
HR | CH | 0
HR | SI | 7.7
HR | HR | 0
HR | FR | 0
HR | DK | 0
HR | PL | 0
HR | CZ | 0
HR | SK | 0
HR | HU | 48.57
HR | RS | 0
HR | BG | 0
HR | GR | 0
HR | RO | 0
HR | LT | 0
HR | LV | 0
HR | ES | 0
HR | PT | 0
HR | UA | 0
HR | MD | 0
HR | RU | 0
HR | AL | 0
HR | LU | 0
HR | IE | 0
HR | BA | 0
HR | MK | 0
HR | TR | 0
HR | SM | 0
HR | NO | 0
HR | DZ | 0
HR | TN | 0
HR | LY | 0
HR | BY | 0
HR | EE | 0
HR | FI | 0
FR | UK | 0
FR | BE | 270
FR | NL | 0
FR | DE | 0
FR | AT | 0
FR | IT | 0
FR | CH | 223
FR | SI | 0
FR | HR | 0
FR | FR | 0
FR | DK | 0
FR | PL | 0
FR | CZ | 0
FR | SK | 0
FR | HU | 0
FR | RS | 0
FR | BG | 0
FR | GR | 0
FR | RO | 0
FR | LT | 0
FR | LV | 0
FR | ES | 164.572
FR | PT | 0
FR | UA | 0
FR | MD | 0
FR | RU | 0
FR | AL | 0
FR | LU | 0
FR | IE | 0
FR | BA | 0
FR | MK | 0
FR | TR | 0
FR | SM | 0
FR | NO | 0
FR | DZ | 0
FR | TN | 0
FR | LY | 0
FR | BY | 0
FR | EE | 0
FR | FI | 0
DK | UK | 0
DK | BE | 0
DK | NL | 0
DK | DE | 4.119
DK | AT | 0
DK | IT | 0
DK | CH | 0
DK | SI | 0
DK | HR | 0
DK | FR | 0
DK | DK | 0
DK | PL | 0
DK | CZ | 0
DK | SK | 0
DK | HU | 0
DK | RS | 0
DK | BG | 0
DK | GR | 0
DK | RO | 0
DK | LT | 0
DK | LV | 0
DK | ES | 0
DK | PT | 0
DK | UA | 0
DK | MD | 0
DK | RU | 0
DK | AL | 0
DK | LU | 0
DK | IE | 0
DK | BA | 0
DK | MK | 0
DK | TR | 0
DK | SM | 0
DK | NO | 0
DK | DZ | 0
DK | TN | 0
DK | LY | 0
DK | BY | 0
DK | EE | 0
DK | FI | 0
PL | UK | 0
PL | BE | 0
PL | NL | 0
PL | DE | 931.6
PL | AT | 0
PL | IT | 0
PL | CH | 0
PL | SI | 0
PL | HR | 0
PL | FR | 0
PL | DK | 0
PL | PL | 0
PL | CZ | 0
PL | SK | 0
PL | HU | 0
PL | RS | 0
PL | BG | 0
PL | GR | 0
PL | RO | 0
PL | LT | 0
PL | LV | 0
PL | ES | 0
PL | PT | 0
PL | UA | 0
PL | MD | 0
PL | RU | 0
PL | AL | 0
PL | LU | 0
PL | IE | 0
PL | BA | 0
PL | MK | 0
PL | TR | 0
PL | SM | 0
PL | NO | 0
PL | DZ | 0
PL | TN | 0
PL | LY | 0
PL | BY | 0
PL | EE | 0
PL | FI | 0
CZ | UK | 0
CZ | BE | 0
CZ | NL | 0
CZ | DE | 1231.759
CZ | AT | 0
CZ | IT | 0
CZ | CH | 0
CZ | SI | 0
CZ | HR | 0
CZ | FR | 0
CZ | DK | 0
CZ | PL | 28
CZ | CZ | 0
CZ | SK | 1246.4
CZ | HU | 0
CZ | RS | 0
CZ | BG | 0
CZ | GR | 0
CZ | RO | 0
CZ | LT | 0
CZ | LV | 0
CZ | ES | 0
CZ | PT | 0
CZ | UA | 0
CZ | MD | 0
CZ | RU | 0
CZ | AL | 0
CZ | LU | 0
CZ | IE | 0
CZ | BA | 0
CZ | MK | 0
CZ | TR | 0
CZ | SM | 0
CZ | NO | 0
CZ | DZ | 0
CZ | TN | 0
CZ | LY | 0
CZ | BY | 0
CZ | EE | 0
CZ | FI | 0
SK | UK | 0
SK | BE | 0
SK | NL | 0
SK | DE | 0
SK | AT | 1570.4
SK | IT | 0
SK | CH | 0
SK | SI | 0
SK | HR | 0
SK | FR | 0
SK | DK | 0
SK | PL | 0
SK | CZ | 457.6
SK | SK | 0
SK | HU | 128.9
SK | RS | 0
SK | BG | 0
SK | GR | 0
SK | RO | 0
SK | LT | 0
SK | LV | 0
SK | ES | 0
SK | PT | 0
SK | UA | 416
SK | MD | 0
SK | RU | 0
SK | AL | 0
SK | LU | 0
SK | IE | 0
SK | BA | 0
SK | MK | 0
SK | TR | 0
SK | SM | 0
SK | NO | 0
SK | DZ | 0
SK | TN | 0
SK | LY | 0
SK | BY | 0
SK | EE | 0
SK | FI | 0
HU | UK | 0
HU | BE | 0
HU | NL | 0
HU | DE | 0
HU | AT | 0
HU | IT | 0
HU | CH | 0
HU | SI | 0
HU | HR | 77.4
HU | FR | 0
HU | DK | 0
HU | PL | 0
HU | CZ | 0
HU | SK | 50.883
HU | HU | 0
HU | RS | 142
HU | BG | 0
HU | GR | 0
HU | RO | 77.5
HU | LT | 0
HU | LV | 0
HU | ES | 0
HU | PT | 0
HU | UA | 0
HU | MD | 0
HU | RU | 0
HU | AL | 0
HU | LU | 0
HU | IE | 0
HU | BA | 0
HU | MK | 0
HU | TR | 0
HU | SM | 0
HU | NO | 0
HU | DZ | 0
HU | TN | 0
HU | LY | 0
HU | BY | 0
HU | EE | 0
HU | FI | 0
RS | UK | 0
RS | BE | 0
RS | NL | 0
RS | DE | 0
RS | AT | 0
RS | IT | 0
RS | CH | 0
RS | SI | 0
RS | HR | 0
RS | FR | 0
RS | DK | 0
RS | PL | 0
RS | CZ | 0
RS | SK | 0
RS | HU | 0
RS | RS | 0
RS | BG | 335.26
RS | GR | 0
RS | RO | 0
RS | LT | 0
RS | LV | 0
RS | ES | 0
RS | PT | 0
RS | UA | 0
RS | MD | 0
RS | RU | 0
RS | AL | 0
RS | LU | 0
RS | IE | 0
RS | BA | 17.98
RS | MK | 0
RS | TR | 0
RS | SM | 0
RS | NO | 0
RS | DZ | 0
RS | TN | 0
RS | LY | 0
RS | BY | 0
RS | EE | 0
RS | FI | 0
BG | UK | 0
BG | BE | 0
BG | NL | 0
BG | DE | 0
BG | AT | 0
BG | IT | 0
BG | CH | 0
BG | SI | 0
BG | HR | 0
BG | FR | 0
BG | DK | 0
BG | PL | 0
BG | CZ | 0
BG | SK | 0
BG | HU | 0
BG | RS | 398.13
BG | BG | 0
BG | GR | 117.8
BG | RO | 148.15
BG | LT | 0
BG | LV | 0
BG | ES | 0
BG | PT | 0
BG | UA | 0
BG | MD | 0
BG | RU | 0
BG | AL | 0
BG | LU | 0
BG | IE | 0
BG | BA | 0
BG | MK | 27.38
BG | TR | 497.16
BG | SM | 0
BG | NO | 0
BG | DZ | 0
BG | TN | 0
BG | LY | 0
BG | BY | 0
BG | EE | 0
BG | FI | 0
GR | UK | 0
GR | BE | 0
GR | NL | 0
GR | DE | 0
GR | AT | 0
GR | IT | 0
GR | CH | 0
GR | SI | 0
GR | HR | 0
GR | FR | 0
GR | DK | 0
GR | PL | 0
GR | CZ | 0
GR | SK | 0
GR | HU | 0
GR | RS | 0
GR | BG | 64.82
GR | GR | 53.4
GR | RO | 0
GR | LT | 0
GR | LV | 0
GR | ES | 0
GR | PT | 0
GR | UA | 0
GR | MD | 0
GR | RU | 0
GR | AL | 0
GR | LU | 0
GR | IE | 0
GR | BA | 0
GR | MK | 0
GR | TR | 0
GR | SM | 0
GR | NO | 0
GR | DZ | 0
GR | TN | 0
GR | LY | 0
GR | BY | 0
GR | EE | 0
GR | FI | 0
RO | UK | 0
RO | BE | 0
RO | NL | 0
RO | DE | 0
RO | AT | 0
RO | IT | 0
RO | CH | 0
RO | SI | 0
RO | HR | 0
RO | FR | 0
RO | DK | 0
RO | PL | 0
RO | CZ | 0
RO | SK | 0
RO | HU | 50.3
RO | RS | 0
RO | BG | 805.75
RO | GR | 0
RO | RO | 0
RO | LT | 0
RO | LV | 0
RO | ES | 0
RO | PT | 0
RO | UA | 122.2
RO | MD | 16.1
RO | RU | 0
RO | AL | 0
RO | LU | 0
RO | IE | 0
RO | BA | 0
RO | MK | 0
RO | TR | 0
RO | SM | 0
RO | NO | 0
RO | DZ | 0
RO | TN | 0
RO | LY | 0
RO | BY | 0
RO | EE | 0
RO | FI | 0
LT | UK | 0
LT | BE | 0
LT | NL | 0
LT | DE | 0
LT | AT | 0
LT | IT | 0
LT | CH | 0
LT | SI | 0
LT | HR | 0
LT | FR | 0
LT | DK | 0
LT | PL | 0
LT | CZ | 0
LT | SK | 0
LT | HU | 0
LT | RS | 0
LT | BG | 0
LT | GR | 0
LT | RO | 0
LT | LT | 0
LT | LV | 67.6
LT | ES | 0
LT | PT | 0
LT | UA | 0
LT | MD | 0
LT | RU | 114.2
LT | AL | 0
LT | LU | 0
LT | IE | 0
LT | BA | 0
LT | MK | 0
LT | TR | 0
LT | SM | 0
LT | NO | 0
LT | DZ | 0
LT | TN | 0
LT | LY | 0
LT | BY | 0
LT | EE | 0
LT | FI | 0
LV | UK | 0
LV | BE | 0
LV | NL | 0
LV | DE | 0
LV | AT | 0
LV | IT | 0
LV | CH | 0
LV | SI | 0
LV | HR | 0
LV | FR | 0
LV | DK | 0
LV | PL | 0
LV | CZ | 0
LV | SK | 0
LV | HU | 0
LV | RS | 0
LV | BG | 0
LV | GR | 0
LV | RO | 0
LV | LT | 65.1
LV | LV | 0
LV | ES | 0
LV | PT | 0
LV | UA | 0
LV | MD | 0
LV | RU | 85
LV | AL | 0
LV | LU | 0
LV | IE | 0
LV | BA | 0
LV | MK | 0
LV | TR | 0
LV | SM | 0
LV | NO | 0
LV | DZ | 0
LV | TN | 0
LV | LY | 0
LV | BY | 0
LV | EE | 0
LV | FI | 0
ES | UK | 0
ES | BE | 0
ES | NL | 0
ES | DE | 0
ES | AT | 0
ES | IT | 0
ES | CH | 0
ES | SI | 0
ES | HR | 0
ES | FR | 224.4
ES | DK | 0
ES | PL | 0
ES | CZ | 0
ES | SK | 0
ES | HU | 0
ES | RS | 0
ES | BG | 0
ES | GR | 0
ES | RO | 0
ES | LT | 0
ES | LV | 0
ES | ES | 0
ES | PT | 144
ES | UA | 0
ES | MD | 0
ES | RU | 0
ES | AL | 0
ES | LU | 0
ES | IE | 0
ES | BA | 0
ES | MK | 0
ES | TR | 0
ES | SM | 0
ES | NO | 0
ES | DZ | 0
ES | TN | 0
ES | LY | 0
ES | BY | 0
ES | EE | 0
ES | FI | 0
PT | UK | 0
PT | BE | 0
PT | NL | 0
PT | DE | 0
PT | AT | 0
PT | IT | 0
PT | CH | 0
PT | SI | 0
PT | HR | 0
PT | FR | 0
PT | DK | 0
PT | PL | 0
PT | CZ | 0
PT | SK | 0
PT | HU | 0
PT | RS | 0
PT | BG | 0
PT | GR | 0
PT | RO | 0
PT | LT | 0
PT | LV | 0
PT | ES | 80
PT | PT | 0
PT | UA | 0
PT | MD | 0
PT | RU | 0
PT | AL | 0
PT | LU | 0
PT | IE | 0
PT | BA | 0
PT | MK | 0
PT | TR | 0
PT | SM | 0
PT | NO | 0
PT | DZ | 0
PT | TN | 0
PT | LY | 0
PT | BY | 0
PT | EE | 0
PT | FI | 0
UA | UK | 0
UA | BE | 0
UA | NL | 0
UA | DE | 0
UA | AT | 0
UA | IT | 0
UA | CH | 0
UA | SI | 0
UA | HR | 0
UA | FR | 0
UA | DK | 0
UA | PL | 135.6
UA | CZ | 0
UA | SK | 2277.6
UA | HU | 515.6
UA | RS | 0
UA | BG | 0
UA | GR | 0
UA | RO | 1163.4
UA | LT | 0
UA | LV | 0
UA | ES | 0
UA | PT | 0
UA | UA | 0
UA | MD | 0
UA | RU | 0
UA | AL | 0
UA | LU | 0
UA | IE | 0
UA | BA | 0
UA | MK | 0
UA | TR | 0
UA | SM | 0
UA | NO | 0
UA | DZ | 0
UA | TN | 0
UA | LY | 0
UA | BY | 0
UA | EE | 0
UA | FI | 0
MD | UK | 0
MD | BE | 0
MD | NL | 0
MD | DE | 0
MD | AT | 0
MD | IT | 0
MD | CH | 0
MD | SI | 0
MD | HR | 0
MD | FR | 0
MD | DK | 0
MD | PL | 0
MD | CZ | 0
MD | SK | 0
MD | HU | 0
MD | RS | 0
MD | BG | 0
MD | GR | 0
MD | RO | 2.2
MD | LT | 0
MD | LV | 0
MD | ES | 0
MD | PT | 0
MD | UA | 0
MD | MD | 0
MD | RU | 0
MD | AL | 0
MD | LU | 0
MD | IE | 0
MD | BA | 0
MD | MK | 0
MD | TR | 0
MD | SM | 0
MD | NO | 0
MD | DZ | 0
MD | TN | 0
MD | LY | 0
MD | BY | 0
MD | EE | 0
MD | FI | 0
RU | UK | 0
RU | BE | 0
RU | NL | 0
RU | DE | 1742
RU | AT | 0
RU | IT | 0
RU | CH | 0
RU | SI | 0
RU | HR | 0
RU | FR | 0
RU | DK | 0
RU | PL | 0
RU | CZ | 0
RU | SK | 0
RU | HU | 0
RU | RS | 0
RU | BG | 0
RU | GR | 0
RU | RO | 0
RU | LT | 0
RU | LV | 168
RU | ES | 0
RU | PT | 0
RU | UA | 0
RU | MD | 0
RU | RU | 0
RU | AL | 0
RU | LU | 0
RU | IE | 0
RU | BA | 0
RU | MK | 0
RU | TR | 0
RU | SM | 0
RU | NO | 0
RU | DZ | 0
RU | TN | 0
RU | LY | 0
RU | BY | 0
RU | EE | 0
RU | FI | 220
AL | UK | 0
AL | BE | 0
AL | NL | 0
AL | DE | 0
AL | AT | 0
AL | IT | 487.1
AL | CH | 0
AL | SI | 0
AL | HR | 0
AL | FR | 0
AL | DK | 0
AL | PL | 0
AL | CZ | 0
AL | SK | 0
AL | HU | 0
AL | RS | 0
AL | BG | 0
AL | GR | 0
AL | RO | 0
AL | LT | 0
AL | LV | 0
AL | ES | 0
AL | PT | 0
AL | UA | 0
AL | MD | 0
AL | RU | 0
AL | AL | 0
AL | LU | 0
AL | IE | 0
AL | BA | 0
AL | MK | 0
AL | TR | 0
AL | SM | 0
AL | NO | 0
AL | DZ | 0
AL | TN | 0
AL | LY | 0
AL | BY | 0
AL | EE | 0
AL | FI | 0
LU | UK | 0
LU | BE | 0
LU | NL | 0
LU | DE | 0
LU | AT | 0
LU | IT | 0
LU | CH | 0
LU | SI | 0
LU | HR | 0
LU | FR | 0
LU | DK | 0
LU | PL | 0
LU | CZ | 0
LU | SK | 0
LU | HU | 0
LU | RS | 0
LU | BG | 0
LU | GR | 0
LU | RO | 0
LU | LT | 0
LU | LV | 0
LU | ES | 0
LU | PT | 0
LU | UA | 0
LU | MD | 0
LU | RU | 0
LU | AL | 0
LU | LU | 0
LU | IE | 0
LU | BA | 0
LU | MK | 0
LU | TR | 0
LU | SM | 0
LU | NO | 0
LU | DZ | 0
LU | TN | 0
LU | LY | 0
LU | BY | 0
LU | EE | 0
LU | FI | 0
IE | UK | 0
IE | BE | 0
IE | NL | 0
IE | DE | 0
IE | AT | 0
IE | IT | 0
IE | CH | 0
IE | SI | 0
IE | HR | 0
IE | FR | 0
IE | DK | 0
IE | PL | 0
IE | CZ | 0
IE | SK | 0
IE | HU | 0
IE | RS | 0
IE | BG | 0
IE | GR | 0
IE | RO | 0
IE | LT | 0
IE | LV | 0
IE | ES | 0
IE | PT | 0
IE | UA | 0
IE | MD | 0
IE | RU | 0
IE | AL | 0
IE | LU | 0
IE | IE | 0
IE | BA | 0
IE | MK | 0
IE | TR | 0
IE | SM | 0
IE | NO | 0
IE | DZ | 0
IE | TN | 0
IE | LY | 0
IE | BY | 0
IE | EE | 0
IE | FI | 0
BA | UK | 0
BA | BE | 0
BA | NL | 0
BA | DE | 0
BA | AT | 0
BA | IT | 0
BA | CH | 0
BA | SI | 0
BA | HR | 0
BA | FR | 0
BA | DK | 0
BA | PL | 0
BA | CZ | 0
BA | SK | 0
BA | HU | 0
BA | RS | 0
BA | BG | 0
BA | GR | 0
BA | RO | 0
BA | LT | 0
BA | LV | 0
BA | ES | 0
BA | PT | 0
BA | UA | 0
BA | MD | 0
BA | RU | 0
BA | AL | 0
BA | LU | 0
BA | IE | 0
BA | BA | 0
BA | MK | 0
BA | TR | 0
BA | SM | 0
BA | NO | 0
BA | DZ | 0
BA | TN | 0
BA | LY | 0
BA | BY | 0
BA | EE | 0
BA | FI | 0
MK | UK | 0
MK | BE | 0
MK | NL | 0
MK | DE | 0
MK | AT | 0
MK | IT | 0
MK | CH | 0
MK | SI | 0
MK | HR | 0
MK | FR | 0
MK | DK | 0
MK | PL | 0
MK | CZ | 0
MK | SK | 0
MK | HU | 0
MK | RS | 0
MK | BG | 0
MK | GR | 0
MK | RO | 0
MK | LT | 0
MK | LV | 0
MK | ES | 0
MK | PT | 0
MK | UA | 0
MK | MD | 0
MK | RU | 0
MK | AL | 0
MK | LU | 0
MK | IE | 0
MK | BA | 0
MK | MK | 0
MK | TR | 0
MK | SM | 0
MK | NO | 0
MK | DZ | 0
MK | TN | 0
MK | LY | 0
MK | BY | 0
MK | EE | 0
MK | FI | 0
TR | UK | 0
TR | BE | 0
TR | NL | 0
TR | DE | 0
TR | AT | 0
TR | IT | 0
TR | CH | 0
TR | SI | 0
TR | HR | 0
TR | FR | 0
TR | DK | 0
TR | PL | 0
TR | CZ | 0
TR | SK | 0
TR | HU | 0
TR | RS | 0
TR | BG | 576.03
TR | GR | 398.6
TR | RO | 0
TR | LT | 0
TR | LV | 0
TR | ES | 0
TR | PT | 0
TR | UA | 0
TR | MD | 0
TR | RU | 0
TR | AL | 0
TR | LU | 0
TR | IE | 0
TR | BA | 0
TR | MK | 0
TR | TR | 0
TR | SM | 0
TR | NO | 0
TR | DZ | 0
TR | TN | 0
TR | LY | 0
TR | BY | 0
TR | EE | 0
TR | FI | 0
SM | UK | 0
SM | BE | 0
SM | NL | 0
SM | DE | 0
SM | AT | 0
SM | IT | 0
SM | CH | 0
SM | SI | 0
SM | HR | 0
SM | FR | 0
SM | DK | 0
SM | PL | 0
SM | CZ | 0
SM | SK | 0
SM | HU | 0
SM | RS | 0
SM | BG | 0
SM | GR | 0
SM | RO | 0
SM | LT | 0
SM | LV | 0
SM | ES | 0
SM | PT | 0
SM | UA | 0
SM | MD | 0
SM | RU | 0
SM | AL | 0
SM | LU | 0
SM | IE | 0
SM | BA | 0
SM | MK | 0
SM | TR | 0
SM | SM | 0
SM | NO | 0
SM | DZ | 0
SM | TN | 0
SM | LY | 0
SM | BY | 0
SM | EE | 0
SM | FI | 0
NO | UK | 1499.1
NO | BE | 488
NO | NL | 0
NO | DE | 2210.564
NO | AT | 0
NO | IT | 0
NO | CH | 0
NO | SI | 0
NO | HR | 0
NO | FR | 570
NO | DK | 0
NO | PL | 0
NO | CZ | 0
NO | SK | 0
NO | HU | 0
NO | RS | 0
NO | BG | 0
NO | GR | 0
NO | RO | 0
NO | LT | 0
NO | LV | 0
NO | ES | 0
NO | PT | 0
NO | UA | 0
NO | MD | 0
NO | RU | 0
NO | AL | 0
NO | LU | 0
NO | IE | 0
NO | BA | 0
NO | MK | 0
NO | TR | 0
NO | SM | 0
NO | NO | 0
NO | DZ | 0
NO | TN | 0
NO | LY | 0
NO | BY | 0
NO | EE | 0
NO | FI | 0
DZ | UK | 0
DZ | BE | 0
DZ | NL | 0
DZ | DE | 0
DZ | AT | 0
DZ | IT | 0
DZ | CH | 0
DZ | SI | 0
DZ | HR | 0
DZ | FR | 0
DZ | DK | 0
DZ | PL | 0
DZ | CZ | 0
DZ | SK | 0
DZ | HU | 0
DZ | RS | 0
DZ | BG | 0
DZ | GR | 0
DZ | RO | 0
DZ | LT | 0
DZ | LV | 0
DZ | ES | 731.7
DZ | PT | 0
DZ | UA | 0
DZ | MD | 0
DZ | RU | 0
DZ | AL | 0
DZ | LU | 0
DZ | IE | 0
DZ | BA | 0
DZ | MK | 0
DZ | TR | 0
DZ | SM | 0
DZ | NO | 0
DZ | DZ | 0
DZ | TN | 0
DZ | LY | 0
DZ | BY | 0
DZ | EE | 0
DZ | FI | 0
TN | UK | 0
TN | BE | 0
TN | NL | 0
TN | DE | 0
TN | AT | 0
TN | IT | 1138.1
TN | CH | 0
TN | SI | 0
TN | HR | 0
TN | FR | 0
TN | DK | 0
TN | PL | 0
TN | CZ | 0
TN | SK | 0
TN | HU | 0
TN | RS | 0
TN | BG | 0
TN | GR | 0
TN | RO | 0
TN | LT | 0
TN | LV | 0
TN | ES | 0
TN | PT | 0
TN | UA | 0
TN | MD | 0
TN | RU | 0
TN | AL | 0
TN | LU | 0
TN | IE | 0
TN | BA | 0
TN | MK | 0
TN | TR | 0
TN | SM | 0
TN | NO | 0
TN | DZ | 0
TN | TN | 0
TN | LY | 0
TN | BY | 0
TN | EE | 0
TN | FI | 0
LY | UK | 0
LY | BE | 0
LY | NL | 0
LY | DE | 0
LY | AT | 0
LY | IT | 475.8
LY | CH | 0
LY | SI | 0
LY | HR | 0
LY | FR | 0
LY | DK | 0
LY | PL | 0
LY | CZ | 0
LY | SK | 0
LY | HU | 0
LY | RS | 0
LY | BG | 0
LY | GR | 0
LY | RO | 0
LY | LT | 0
LY | LV | 0
LY | ES | 0
LY | PT | 0
LY | UA | 0
LY | MD | 0
LY | RU | 0
LY | AL | 0
LY | LU | 0
LY | IE | 0
LY | BA | 0
LY | MK | 0
LY | TR | 0
LY | SM | 0
LY | NO | 0
LY | DZ | 0
LY | TN | 0
LY | LY | 0
LY | BY | 0
LY | EE | 0
LY | FI | 0
BY | UK | 0
BY | BE | 0
BY | NL | 0
BY | DE | 0
BY | AT | 0
BY | IT | 0
BY | CH | 0
BY | SI | 0
BY | HR | 0
BY | FR | 0
BY | DK | 0
BY | PL | 1203.5
BY | CZ | 0
BY | SK | 0
BY | HU | 0
BY | RS | 0
BY | BG | 0
BY | GR | 0
BY | RO | 0
BY | LT | 325.4
BY | LV | 0
BY | ES | 0
BY | PT | 0
BY | UA | 0
BY | MD | 0
BY | RU | 0
BY | AL | 0
BY | LU | 0
BY | IE | 0
BY | BA | 0
BY | MK | 0
BY | TR | 0
BY | SM | 0
BY | NO | 0
BY | DZ | 0
BY | TN | 0
BY | LY | 0
BY | BY | 0
BY | EE | 0
BY | FI | 0
EE | UK | 0
EE | BE | 0
EE | NL | 0
EE | DE | 0
EE | AT | 0
EE | IT | 0
EE | CH | 0
EE | SI | 0
EE | HR | 0
EE | FR | 0
EE | DK | 0
EE | PL | 0
EE | CZ | 0
EE | SK | 0
EE | HU | 0
EE | RS | 0
EE | BG | 0
EE | GR | 0
EE | RO | 0
EE | LT | 0
EE | LV | 0
EE | ES | 0
EE | PT | 0
EE | UA | 0
EE | MD | 0
EE | RU | 0
EE | AL | 0
EE | LU | 0
EE | IE | 0
EE | BA | 0
EE | MK | 0
EE | TR | 0
EE | SM | 0
EE | NO | 0
EE | DZ | 0
EE | TN | 0
EE | LY | 0
EE | BY | 0
EE | EE | 0
EE | FI | 0
FI | UK | 0
FI | BE | 0
FI | NL | 0
FI | DE | 0
FI | AT | 0
FI | IT | 0
FI | CH | 0
FI | SI | 0
FI | HR | 0
FI | FR | 0
FI | DK | 0
FI | PL | 0
FI | CZ | 0
FI | SK | 0
FI | HU | 0
FI | RS | 0
FI | BG | 0
FI | GR | 0
FI | RO | 0
FI | LT | 0
FI | LV | 0
FI | ES | 0
FI | PT | 0
FI | UA | 0
FI | MD | 0
FI | RU | 0
FI | AL | 0
FI | LU | 0
FI | IE | 0
FI | BA | 0
FI | MK | 0
FI | TR | 0
FI | SM | 0
FI | NO | 0
FI | DZ | 0
FI | TN | 0
FI | LY | 0
FI | BY | 0
FI | EE | 0
FI | FI | 0